## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for August 2018

## Slide 2: Non-IRR GREDP < 85% – August 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 288 | 385 | 566 | 2.45 | 68.02
Unit 329 | 4 | 6 | 0.72 | 66.67
Unit 330 | 1 | 3 | 0.47 | 33.33

## Slide 3: IRR Summary – August 2018
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 75.83 | 61.32 | 87.27
GREDP Median (%) | 93.36 | 75.00 | 91.01
Average MW Error | 3.22 | 2.94 | 3.96
Median MW Error | 2.86 | 2.62 | 3.02
Total Intervals Scored | 15,920 | 8,776 | 8,019
100+ Intervals Scored | 17 | 162 | 9
Total Intervals Scored Average | 88.94 | 153.96 | 891.00

## Slide 4: IRR < 95%, ≥ 100 Scored Intervals – August 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,743 | 3,014 | 2.33 | 91.01
Unit 2 | 2,716 | 2,995 | 2.22 | 90.68
Unit 8 | 400 | 461 | 5.80 | 86.77
Unit 11 | 334 | 386 | 1.86 | 86.53
Unit 12 | 194 | 338 | 7.02 | 57.40
Unit 14 | 262 | 276 | 2.86 | 94.93
Unit 15 | 211 | 226 | 6.16 | 93.36
Unit 16 | 174 | 186 | 3.02 | 93.54
Unit 17 | 125 | 137 | 4.34 | 91.24

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 2,083 | 2,094 | 11.95 | 99.47
Unit 4 | 1,103 | 1,124 | 3.75 | 98.13
Unit 5 | 759 | 786 | 3.23 | 96.56
Unit 6 | 763 | 781 | 3.00 | 97.70
Unit 7 | 722 | 728 | 3.09 | 99.18
Unit 9 | 414 | 416 | 2.84 | 99.52
Unit 10 | 352 | 404 | 0.85 | 95.25
Unit 13 | 311 | 327 | 2.73 | 95.07