## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for September 2018

## Slide 2: Non-IRR GREDP < 85% – September 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 303 | 50 | 62 | 1.77 | 80.65

## Slide 3: IRR Summary – September 2018
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 80.22 | 63.48 | 91.00
GREDP Median (%) | 96.12 | 75.81 | 93.03
Average MW Error | 2.90 | 2.78 | 2.66
Median MW Error | 2.56 | 2.32 | 2.87
Total Intervals Scored | 13,535 | 6,518 | 5,430
100+ Intervals Scored | 29 | 154 | 10
Total Intervals Scored Average | 73.96 | 118.51 | 543.00

## Slide 4: IRR < 95%, ≥ 100 Scored Intervals – September 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,826 | 1,927 | 2.95 | 94.76
Unit 2 | 1,825 | 1,927 | 2.84 | 94.71
Unit 8 | 339 | 365 | 3.87 | 92.88
Unit 10 | 241 | 283 | 4.39 | 85.16
Unit 15 | 191 | 205 | 1.79 | 93.17
Unit 18 | 165 | 181 | 3.52 | 91.16
Unit 20 | 121 | 160 | 0.84 | 94.53
Unit 22 | 132 | 147 | 2.13 | 89.80
Unit 23 | 124 | 130 | 2.89 | 94.84
Unit 28 | 83 | 105 | 1.43 | 79.05

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – September 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 1,391 | 1,401 | 7.92 | 99.29
Unit 4 | 731 | 741 | 2.86 | 98.65
Unit 5 | 711 | 728 | 2.50 | 97.66
Unit 6 | 634 | 659 | 6.05 | 96.21
Unit 7 | 488 | 492 | 4.30 | 99.19
Unit 9 | 306 | 316 | 0.98 | 96.84
Unit 11 | 244 | 250 | 2.02 | 97.60
Unit 12 | 228 | 228 | 3.38 | 100.00
Unit 13 | 203 | 209 | 2.96 | 97.13
Unit 14 | 198 | 206 | 1.45 | 96.12
Unit 16 | 203 | 203 | 2.86 | 100.00
Unit 17 | 201 | 201 | 4.49 | 100.00

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – September 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 19 | 152 | 160 | 3.23 | 95.00
Unit 21 | 154 | 156 | 5.53 | 98.72
Unit 24 | 121 | 121 | 3.25 | 100.00
Unit 25 | 114 | 115 | 0.64 | 99.13
Unit 26 | 115 | 115 | 2.99 | 100.00
Unit 27 | 109 | 112 | 2.90 | 97.32
Unit 29 | 103 | 103 | 3.23 | 100.00