## Slide 1
Review of Commercial Impacts of DC Tie Curtailments
QMWG
October 15, 2018
Market Analysis

## Slide 2: DC Tie Tag Curtailments – August 2018
There were 3 DC tie tag curtailment events
All were due to the DC tie itself
Transmission watches were declared during all 3 events

## Slide 3: DC Tie Tag Curtailments – August 2018
Date | DC Tie | Curtailing Period | # of Tags Curtailed | Initiating Event | Curtailment Reason
8/18/2018 | DC-R | HE 04:00 – HE 08:00 | 2 | Filter Bank Issue | De-rated to 170MW
8/27/2018 | DC-R | HE 23:00 – HE 24:00 | 2 | Filter Bank Issue | De-rated to 170MW
8/31/2018 | DC-S | HE 13:00 – HE 17:00 | 4 | Control Computer Failure | Forced Outage