| NPRR Number | 871 | NPRR Title | Customer or Resource Entity Funded Transmission Projects Review Process |
| --- | --- | --- | --- |
| Date |  | September 5, 2018 |  |
| Submitter’s Information |  |  |  |
| Name |  | Brad Schwarz |  |
| E-mail Address |  | bschwarz@huntpower.com |  |
| Company |  | Sharyland Utilities |  |
| Phone Number |  |  |  |
| Cell Number |  | 512-289-7425 |  |
| Market Segment |  | Investor Owned Utility |  |

Comments

Sharyland’s comments clarify that Tier 4 projects do not need to go through the review process described in Section 3.11.4.11, Customer or Resource Entity Funded Transmission Projects.

Revised Cover Page Language

None

Revised Proposed Protocol Language

3.11.4.11      Customer or Resource Entity Funded Transmission Projects

(1)       If a Customer or Resource Entity elects to fund the full capital cost of transmission upgrades that would otherwise be classified as a Tier 1, Tier 2, or Tier 3 project, an affected TSP may, in its discretion, elect to pursue the project.  The TSP(s) shall conduct a reliability impact assessment of the proposed transmission project and shall submit a report summarizing the results of the reliability impact assessment for RPG Project Review.  Such projects shall be processed as a Tier 3 and shall be reclassified as a Tier 4, neutral project upon ERCOT’s determination that any concerns, questions or objections raised during the comment process have been resolved satisfactorily.

(2)	Customer or Resource Entity funded Tier 4 projects do not need to go through this review process.