| NPRR Number | 892 | NPRR Title | Non-Spin Reserve Energy Floor Clarification |
| --- | --- | --- | --- |
| Date of Decision |  | September 13, 2018 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Nodal Protocol Sections Requiring Revision |  | - 6.4.4.1, Energy Offer Curve for On-Line Non-Spinning Reserve Capacity |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) places a floor on energy on units carrying Non-Spinning Reserves (Non-Spin) and Responsive Reserves (RRS) and/or Regulation Up Service (Reg-Up) concurrently to ensure the Non-Spin capacity is priced above the $75/MWh floor. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The Protocols require units carrying on-line Non-Spin to offer that capacity at a floor price of $75/MWh. However, if the unit is also carrying RRS and/or Reg-Up that is priced below $75/MWh, the $75/MWh offers will be moved behind the High Ancillary Service Limit (HASL), leaving the on-line Non-Spin being priced below the floor. This change will ensure that all On-Line Non-Spin is priced at the required floor by requiring all capacity above the HASL to also be priced above the floor. |  |
| Credit Work Group Review |  | To be determined |  |
| PRS Decision |  | On 9/13/18, PRS unanimously voted to table NPRR892 for one month. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 9/13/18, participants discussed tabling NPRR892 to allow for additional review and discussion around the intent and scope of the floor on energy on units carrying Non-Spin and RRS and/or Reg-Up as proposed in NPRR892. |  |

| Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | Clayton.Greer@morganstanley.com |
| Company | Morgan Stanley |
| Phone Number | 512-497-2986 |
| Cell Number |  |
| Market Segment | Independent Power Marketer |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Protocol Language Revision

- 6.4.4.1	Energy Offer Curve for On-Line Non-Spinning Reserve Capacity

(1)	The following applies to Generation Resources that a QSE assigns Non-Spinning Reserve (Non-Spin) Ancillary Service Resource Responsibility in its COP to meet the QSE’s Ancillary Service Supply Responsibility for Non-Spin and applies to On-Line Non-Spin assignments arising as the result of Day-Ahead Market (DAM) or Supplemental Ancillary Services Market (SASM) Ancillary Service awards, or Self-Arranged Ancillary Service Quantity.

(a)	Prior to the end of the Adjustment Period for an Operating Hour during which a Generation Resource is assigned On-Line Non-Spin Ancillary Service Resource Responsibility, the QSE shall ensure that a valid Output Schedule or Energy Offer Curve for the Operating Hour has been submitted and accepted by ERCOT.  The Energy Offer Curves submitted by the QSE for the capacity assigned to Non-Spin may not be offered at less than $75 per MWh.

(b)	If the QSE also assigns Responsive Reserve (RRS) Service and/or Regulation Up (Reg-Up) Service to a resource that has been assigned Non-Spin, the QSE shall ensure that a valid Output Schedule or Energy Offer Curve for the Operating Hour has been submitted and accepted by ERCOT.  The Energy Offer Curves submitted by the QSE for the capacity assigned to the sum of the RRS, Reg-Up and Non-Spin responsibility may not be offered at less than $75 per MWh.