## Slide 1: Proposed Resource Definition Framework
NPRR889 RTF-1
NPRRxxx RTF-2

## Slide 3: Options for addressing this framework
Standard Load Resource[
A Load Resource that can only be deployed manually with a Dispatch Instruction from ERCOT. These Resources can deploy either a part or all of dispachable Load in a single step.
UFR Load Resource
A Load Resource that is controlled by an under-frequency relay and may also be deployed manually with a Dispatch Instruction
from ERCOT. These Resources can deploy either a part or all of dispachable Load in a single step.
Add new terms