## Slide 1: FAC-008 Activity
NDSWG Meeting
October 16, 2018

## Slide 2: Facility Ratings – FAC-008-3
Importance of Facility Ratings
Risk Element
Texas RE has Facility Ratings as a risk element.
Avoids operating generation and transmission facilities in excess of their actual equipment capacity
Focused on identifying potential gaps in the development and application of Facility Rating Methodologies for registered entities
Reduces the opportunity for equipment damage, outages, and loss of generation and load
Supports situational awareness by ensuring accurate operational data for Real-time models, contingency analyses, and system planning analyses
Impact on CIP-002 determinations

## Slide 3: FAC-008 Compliance Assessments: January 2016 – July 2018
Between January 2016 – July 2018
Texas RE conducted or initiated 55 Compliance Audits that included FAC-008-3.
R1 - reviewed in 27 Compliance Audits
Texas RE reviewed 151 FAC-008-3 Requirements in 55 Compliance Audits
R2 - reviewed in 31 Compliance Audits
R3 - reviewed in 9 Compliance Audits
R6 - reviewed in 55 Compliance Audits
R7 - reviewed in 17 Compliance Audits
R8 - reviewed in 12 Compliance Audits
Texas RE completed one Self-Certification for FAC-008-3 R6 and one Spot Check for FAC-008-3 R6.

## Slide 4: FAC-009/FAC-008 Records Posted/Filed: 2016 – 2017
Processed in 2016 – 5 Audit Findings | Various Processing Methods for 3 Entities
Processed in 2017 – 15 Audit Findings | 1 SNOP Agreement for 5 Affiliated Entities
Standard Requirement | Number of Record(s) | Risk and Processing Information
FAC-009-1 R1 | 3 | 1 CE (minimal risk) ¦ 2 FFTs (moderate risk)
FAC-009-1 R2 | 1 | 1 FFT (moderate risk)
FAC-008-3 R8 | 1 | 1 FFT (moderate risk)
Standard Requirement | Number of Record(s) | Risk and Processing Information
FAC-008-1 R1 FAC-008-3 R2 FAC-009-1 R1 FAC-009-1 R2 | 4 4 3 4 | SNOP - $80,000 SNOP pertained to 31 various records 15 of the records were moderate risk FAC issues

## Slide 5: FAC-009/FAC-008 Records Posted/Filed: 2018
Processed in August 2018 – 2 Audit Findings | 1 NOP Agreement for a Single Entity
Standard Requirement | Number of Record(s) | Risk and Processing Information
FAC-009-1 R1 FAC-009-1 R2 | 1 1 | NOP - $225,000 Both records were moderate risk issues

## Slide 6: Previous Outreach Activities – FAC-008-3
Spring Standards and Compliance Workshop - 2018
Fall Standards and Compliance Workshop - 2017
FAC-008-3 was addressed as one of the ERO Risk Elements during the “2018 CMEP Implementation Plan” presentation.
FAC-008-3 was addressed during the “Compliance Monitoring Updates: Good Catches” presentation.
Fall Standards and Compliance Workshop - 2016
Enforcement conducted a presentation on FAC-008-3, “Facility Rating Mitigation Best Practices.” The two primary topics were “Calculating Facility Ratings in an accurate manner” and “Ensuring that correct Facility Ratings are submitted to ERCOT.”

## Slide 7: What does this mean to me?
Good chance that engagements will include FAC-008
Points to consider
  Internal audits
  Awareness within company
  Coordination efforts with other companies
  Internal versus those provided to ERCOT
  Validation of processes
  Validation of inventory
  Validation of ownership
  Delivery time to ERCOT
  Are field personnel acutely aware?