| SCR Number | 797 | SCR Title | Provide IRR Current Operating Plan (COP) to TSPs |
| --- | --- | --- | --- |
| Date of Decision |  | October 18, 2018 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Supporting Protocol or Guide Sections/Related Documents |  | Nodal Protocol Section 1.3.6, Exceptions |  |
| System Change Description |  | This System Change Request (SCR) will allow ERCOT to automatically share the Intermittent Renewable Resources’ (IRRs’) Current Operating Plans (COPs) with a Transmission Service Provider (TSP) upon request by that TSP. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | TSPs need to know the expected output of IRRs in order to accurately perform analyses in the operational planning time frame. Utilizing studies conducted with the expected IRR behavior will improve the accuracy of TSPs’ operations planning activities and avoid unnecessary operational issues in Real-Time. |  |
| PRS Decision |  | On 10/18/18, PRS voted to recommend approval of SCR797 as submitted. There was one abstention from the Independent Retail Electric Provider (IREP) (Reliant) Market Segment. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 10/18/18, participants requested clarification on the TSP need for IRR data. |  |

| Sponsor |  |
| --- | --- |
| Name | Sandip Sharma |
| E-mail Address | ssharma@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-4298 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed System Change

Issue:

ERCOT Tranmission Grid continues to see growth in both wind and solar generation penetration. The accuracy of Transmission Service Providers (TSPs) studies and operations planning activities will be improved if these are conducted using expected output of wind and solar generation.  This improvement will enhance ERCOT’s Real-Time grid operations reliability.  Paragraph (1) of  Protocol Section 1.3.6, Exceptions, currently allows ERCOT to share Current Operating Plan (COP) information with TSPs without violating Section 1.3, Confidentiality.

Resolution:

Per Protocol Section 3.13, Renewable Production Potential Forecasts, ERCOT is required to produce both Wind and Solar forecasts for each Wind-powered Generation Resource (WGR) and Photovoltaic Generation Resource (PVGR) for next 168 hours. This forecast information is then pre-populated as the WGR’s/PVGR’s COP.  This System Change Request (SCR) will implement changes that would allow ERCOT to automatically provide WGR and PVGR COP information to a TSP based on a formal request to ERCOT from that TSP.