## BaseCaseChanges
XXINRXXXX Base Case Changes (2022 SUM1 & 2022 HWLL)
INR | Project Name | County | MW Capacity | Projected COD | PG 6.9(1)
XXINRXXXX | GINR Project 1 | Brazoria | 200 | 2020-12-31 | Yes
XXINRXXXX | GINR Project 2 | Wharton | 100 | 2021-05-01 | Yes
Comparison 2021 SUM1
Bus Name | County | SSWG Gen MW | New Gen MW
GEN 3 | RUSK | 593.6 | 416.2
SLACK_BUS | FORT BEND | 309.2 | 350
Comparison 2022 HWLL
Bus Name | County | SSWG Gen MW | New Gen MW
GEN 1 | RUSK | 800 | 700
GEN 2 | RUSK | 805 | 700
GEN 3 | RUSK | 805 | 444
SLACK_BUS | FORT BEND | 222 | 659