## Slide 1
Updated of 2017 Analysis of 4-CP Load Reductions and Interaction with Price Response
Carl L Raish
Principal Load Profiling and Modeling
Demand Side Working Group – 10/26/2018

## Slide 2: 2017 Updates
    Sorry if you were expecting 2018 analysis!

## Slide 3: Methodology (in brief)
    Identify 4CP Days (stored in ERCOT Data)
    Identify Days with high price events (4 consecutive intervals >$200/MWh)
      Track and take into consideration at ESID level
    Identify Near-CP days … significant load reduction on non-4CP days
      Check aggregate load of competitive ESIIDs served at transmission voltage (~160) that were identified as reducing for 4CP/Near CP events during the prior year
      Near CP day: load reduction of 100 MW or 5% for hour ending 17:00
    Develop baselines for each ESIID … excluding high price days and other 4CP/Near CP days
      Regression baseline if weather sensitive (including NOIEs)
      Corrected weather data for 2017
      Nearest-20 Like Days for non-weather sensitive
    Using those baselines:
      Identify ESIIDs that respond frequently and at significant levels during 4CP/NearCP events for the three year period before, during and after the year being analyzed.
      Estimate 4CP/Near CP reductions on event days for ESIIDs with significant reductions on that specific day.

## Slide 4: Identifying Near CP Days
CP Reduce = 305 MW
24% Reduction
CP Reduce = 70 MW
5% Reduction
Near CP Days by Year
2012 – 11
2013 – 15
2014 – 14
2015 – 16
2016 – 18
2017 – 14
Load of transmission voltage ESIIDs that responded to 4CP/Near CP events in 2016

## Slide 5: 4 CP Days - 2017

## Slide 6: Near-CP Days - 2017

## Slide 7: Near-CP Days - 2017

## Slide 8: Near-CP Days - 2017

## Slide 9: Near-CP Days - 2017

## Slide 10: 4CP and NearCP Hour Ending 17:00 Reductions
2015
2017
2016
2014

## Slide 11: 4CP/NearCP participation
2015
2017
2016
2014

## Slide 12: 2017 Interaction of 4CP and Price Response
Interaction with Real-Time Pricing and Block & Index Pricing

## Slide 13: 2017 Interaction of 4CP and Price Response
Interaction with Real-Time Pricing and Block & Index Pricing

## Slide 14: 2016 Interaction of 4CP and Price Response
Interaction with Real-Time Pricing and Block & Index Pricing

## Slide 15: 2016 Interaction of 4CP and Price Response
Interaction with Real-Time Pricing and Block & Index Pricing

## Slide 16: 2016 Interaction of 4CP and Price Response
Interaction with Real-Time Pricing and Block & Index Pricing

## Slide 17: 2016 Interaction of 4CP and Price Response
Interaction with Real-Time Pricing and Block & Index Pricing

## Slide 18: 2015 Interaction of 4CP and Price Response
Interaction with Real-Time Pricing and Block & Index Pricing

## Slide 19: 2015 Interaction of 4CP and Price Response
Interaction with Real-Time Pricing and Block & Index Pricing

## Slide 20: 2014 Interaction of 4CP and Price Response
Interaction with Real-Time Pricing and Block & Index Pricing

## Slide 21: 2014 Interaction of 4CP and Price Response
Interaction with Real-Time Pricing and Block & Index Pricing

## Slide 22: 2018 Coming Attractions
4-CP days (preliminary)
  June 27, July 19, Aug 23, Sep 19
Near-CP days (preliminary – 21 days an annual record)
  June 6, 20, 22, 26
  July 2, 3, 17, 18, 29, 23, 28 (Sat, may be price response ???)
  Aug 6, 7, 9, 15, 16, 17, 24
  Sep 1, 17, 18
High Price Days (in all Load Zones)
  Jan 16, 17, 23
  Feb 5
  May 16, 26, 31
  Jun 5
  Jul 18, 19, 22 (Sun), 28 (Sat), 29
  Aug 15, 18
  Sep 25
  Oct 7

## Slide 23: Questions?
ON
OFF
craish@ercot.com 512/248-3876