## Slide 1
2019 Emergency Operations Plan Review
Chad Thompson
Sr Manager, Operations Support & Engineering
Operations Working Group Meeting
October 26, 2018

## Slide 2: Background
EOP-011-1 became effective April 1 2017
  R1: TOP shall have an RC-reviewed plan
  R2: BA shall have an RC-reviewed plan
  R3: RC shall review the TOP & BA plans
  R4: TOP & BA address issues raised by RC with their plans

## Slide 3: EOP-011 R3
3.1.1 Review each TOP plan for compatibility and inter-dependency with other TOPs’ plans
3.2.1 Review each TOP plan for coordination to avoid risk to Wide Area reliability
3.1.3 Notify TOP of review results

## Slide 4: 2018 Review
Timeline
  Reminder to OWG – October 26
  Issue Market Notice – December 3
  Plans submitted to ERCOT – February 15
  Responses provides back to TOPs – March 16
  Issues resolved – May 1

## Slide 5: 2018 Review
2018 Lessons Learned
  Format
    References to internal procedures
    Follow Attachment 8 L
  ProofPoint is not easy
    Set up your account early
  Follow Through
    Look for confirmation of receipt, follow-up requests, and confirmation of completed review from Transrep inbox

## Slide 6: Final Thoughts
This is not a compliance exercise
Continuing to look for efficiencies (NOGRR 182)
If no changes, state as such in the EOP submission
Include referenced procedures
Follow Section 8 Attachment L format