| NPRR Number | 903 | NPRR Title | Day-Ahead Market Timing Deviations |
| --- | --- | --- | --- |
| Date of Decision |  | October 18, 2018 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Nodal Protocol Sections Requiring Revision |  | 4.1.2, Day-Ahead Process and Timing Deviations |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies the deviations that may occur due to Day-Ahead Market (DAM) delays, and adds language requiring ERCOT to issue a Market Notice for any act or omission that it takes to ensure that the DAM process completes by 1900. If the 1000 DAM submission deadline or the 1330 DAM publishing deadline is delayed, ERCOT will enter an Advisory as soon as possible. However, if additional actions and/or omissions are taken to ensure that DAM publishes for that Operating Day, ERCOT will issue a Market Notice no later than 1700 Central Prevailing Time (CPT) on the next Business Day. ERCOT intends to take any reasonable action necessary to avoid aborting DAM. Further, this NPRR memorializes 1900 as the latest point in time that DAM can publish. In the event that DAM must be aborted, this particular time was chosen to accommodate the time necessary to execute a Supplemental Ancillary Services Market (SASM) and/or Reliability Unit Commitment (RUC) prior to the start of the Operating Day. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | It is difficult to overstate the market disruption that could occur in having to abort the DAM. For example, Ancillary Services would have to be procured outside the DAM, Loads would be unable to hedge their exposure to Real-Time prices, etc. This NPRR clarifies that ERCOT can take reasonable actions/omissions necessary to ensure that DAM completes. When ERCOT does take such actions, Market Participants will be informed as soon as practicable. |  |
| Credit Work Group Review |  | To be determined |  |
| PRS Decision |  | On 10/18/18, PRS unanimously voted to table NPRR903 and refer the issue to WMS. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 10/18/18, participants expressed concern that language proposed in NPRR903 is overly broad and suggested that ERCOT Staff provide a roadmap of how the process would be used. |  |

| Sponsor |  |
| --- | --- |
| Name | Carrie Bivens |
| E-mail Address | carrie.bivens@ercot.com |
| Company | ERCOT, Inc. |
| Phone Number | 512-248-6678 |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Phillip Bracy |
| E-Mail Address | Phillip.Bracy@ercot.com |
| Phone Number | 512-248-6917 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Protocol Language Revision

4.1.2	Day-Ahead Process and Timing Deviations

(1)	ERCOT may temporarily revise the DAM transaction deadline or the time for communicating DAM results when necessary to ensure, to the greatest extent practicable, that the DAM clearing process completes.  In such an event, ERCOT shall immediately issue an Advisory and notify all Qualified Scheduling Entities (QSEs) of the following:

(a)	Details of the affected timing and procedures;

(b)	Details of interim requirements, if any exist;

(c)	An estimate of the period for which the interim requirements apply; and

(d)	Reasons for the temporary variation.

(2)	ERCOT may omit any procedure or take any manual action necessary to ensure, to the greatest extent practicable, that the DAM clearing process completes by 1900 in the Day-Ahead.  Should ERCOT omit any such procedure or take any such manual action, ERCOT will issue a Market Notice no later than 1700 Central Prevailing Time (CPT) on the next Business Day that details the omitted procedures or manual actions taken by ERCOT and ERCOT’s explanation as to why they were necessary.

(3)	If ERCOT is unable to execute the Day-Ahead process prior to 1900 in the Day-Ahead, ERCOT may abort all or part of the Day-Ahead process and require all schedules and trades to be submitted in the Adjustment Period.  In that event, ERCOT shall issue a Watch and notify all QSEs of the following:

(a)	Details of the affected timing and procedures;

(b)	Details of any interim requirements, including the requirements described in Section 5.2.2.2, RUC Process Timeline After an Aborted Day-Ahead Market;

(c)	An estimate of the period for which the interim requirements apply; and

(d)	Reasons for the temporary variation.

(4)	If ERCOT is unable to operate the Adjustment Period process, then ERCOT may abort the Adjustment Period process and operate under its Operating Period procedures.