- Section 3:

PGRR063 – Transmission Interconnection Study

This Planning Guide Revision Request (PGRR) outlines the process to evaluate the reliability impact of any transmission projects 100 kV or above that are expected to be in-service before the completion of the next Regional Transmission Plan and were not included in the current Regional Transmission Plan, a Regional Planning Group (RPG) project submission, or a Generation Interconnection or Change Request (GINR) study; and satisfies Requirement R1 of the North American Electric Reliability Corporation (NERC) Reliability Standard FAC-002-2, Facility Interconnection Studies.  By definition, these projects would include Tier 4 transmission projects that are connected at or above 100 kV.

Revised Subsection:  3.1.9 [upon system implementation]

- Section 6:

PGRR064 – Transmission Dynamic Element Model Verification

This Planning Guide Revision Request (PGRR) addresses the dynamic model verification for transmission dynamic elements.

Revised Subsection:  6.2.3