## Slide 1
Intra-Hour Wind Forecast Accuracy Updates (Nov. 2018)
QMWG
Operations Analysis
11/12/2018

## Slide 2: Introduction
ERCOT implemented SCR795 on October 25, 2018
Initial K6 value set to 0
Actively analyzing projected wind ramp accuracy after implementation

## Slide 3: Intra-Hour Wind Ramp Forecast Error (October 2018)
Performance Metric | Projected Ramp | Persistence Ramp*
Monthly MAE (MW) | 54 | 67
Monthly MAE when 5-Min. Wind Ramp > 100 MW | 100 | 158
Projected Ramp
Persistence Ramp*
* Persistence Ramp assumes a 0 MW wind ramp

## Slide 4: Persistence Ramp Error Heat Map

## Slide 5: Projected Wind Ramp Rate Error (PWRR) Heat Map

## Slide 6: Next Steps
Be on the lookout for a market notice to activate SCR795 changes
In parallel with activation of K6, ERCOT may tune the other Generation-to-be-Dispatched parameters
ERCOT will provide updates on those changes to future PDCWG and QMWG meetings

## Slide 7: Appendix

## Slide 8: Current GTBD Parameters