## Slide 1
Recent Resource Adequacy Reports:
Economically Optimum Reserve Margin (EORM) / Market Equilibrium Reserve Margin (MERM) Study – Released 10/12/18, Discussed at 10/19 SAWG
Final Winter Seasonal Assessment of Resource Adequacy (Dec-Feb)
  ERCOT expected to have sufficient capacity to serve the forecasted peak demand
  Forecasted peak demand of 61,780 MW is based on expected winter peak weather conditions, and is unchanged from the forecast used for the preliminary winter SARA report released in September 2018.
Preliminary Spring Seasonal Assessment of Resource Adequacy (Mar-May)
  ERCOT expected to have sufficient capacity to serve forecasted peak demand
  Preliminary SARA reflects a Spring 2019 peak forecast of 61,566 MW based on current expectations for average weather.
  A total of 2,262 MW of new nameplate capacity is also expected to be available at the start of the spring season. This capacity total translates into 1,139 MW expected to be available during spring peak load hours, with wind contributing 638 MW, gas-fired units contributing 326 MW, and solar contributing 175 MW.

## Slide 2
Review of 10/19/18 Supply Analysis Working Group Discussion
Review of EORM/MERM Studies
  Studies estimate the economically-optimal reserve margin in ERCOT and inform our ongoing review of market design for resource adequacy
  Brattle Group and Astrapé Consulting took Q&A.
NPRR 891 Removal of NOIE Capacity Reporting Threshold of the Unregistered Distributed Generation Report
  Removes the 50 kW threshold for Non-Opt-In Entities (NOIEs) to report unregistered Distributed Generation (DG) to ERCOT for the purpose of creating the Unregistered Distributed Generation Report to align NOIE reporting with IOU reporting.
  Goal is to develop some consensus comments for WMS consideration. Discussion to continue at 12/19 Meeting.
DC Tie Contribution in CDR
  Possibly amend CDR to provide 75% Capacity Value
Battery Contribution in CDR

## Slide 3
Next SAWG Meeting 12/12/18
Load Forecast Discussion
December CDR
  SARA if there is interest
NPRR 891 Removal of NOIE Capacity Reporting Threshold of the Unregistered Distributed Generation Report
DC Tie Contribution in CDR
Battery Contribution in CDR