## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for October 2018

## Slide 2: Non-IRR GREDP < 85% – October 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 286 | 72 | 85 | 1.39 | 84.71
Unit 295 | 41 | 50 | 1.11 | 82.00
Unit 301 | 5 | 29 | 4.33 | 17.24
Unit 311 | 0 | 1 | 0.58 | 0.00

## Slide 3: IRR Summary – October 2018
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 85.53 | 60.43 | 75.30
GREDP Median (%) | 98.55 | 84.14 | 90.56
Average MW Error | 3.30 | 2.82 | 3.47
Median MW Error | 2.95 | 2.68 | 3.90
Total Intervals Scored | 14,897 | 1,754 | 919
100+ Intervals Scored | 25 | 156 | 5
Total Intervals Scored Average | 81.85 | 54.81 | 183.80

## Slide 4: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 14 | 258 | 282 | 1.57 | 91.49
Unit 16 | 217 | 236 | 4.72 | 91.95
Unit 17 | 163 | 180 | 3.90 | 90.56
Unit 23 | 68 | 115 | 4.12 | 59.13
Unit 24 | 46 | 106 | 3.03 | 43.40

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,384 | 1,387 | 4.53 | 99.78
Unit 2 | 1,328 | 1,335 | 4.79 | 99.48
Unit 3 | 1,154 | 1,154 | 7.26 | 100.00
Unit 4 | 1,058 | 1,084 | 6.92 | 97.60
Unit 5 | 960 | 965 | 7.09 | 99.48
Unit 6 | 890 | 919 | 2.91 | 96.84
Unit 7 | 882 | 910 | 2.98 | 96.92
Unit 8 | 817 | 823 | 7.54 | 99.27
Unit 9 | 586 | 597 | 3.38 | 98.16
Unit 10 | 588 | 592 | 2.82 | 99.32
Unit 11 | 526 | 545 | 2.89 | 96.51
Unit 12 | 326 | 327 | 4.35 | 99.69
Unit 13 | 316 | 325 | 5.04 | 97.23

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 15 | 253 | 253 | 2.89 | 100.00
Unit 18 | 141 | 143 | 2.27 | 98.60
Unit 19 | 132 | 134 | 3.18 | 98.51
Unit 20 | 133 | 133 | 1.61 | 100.00
Unit 21 | 131 | 132 | 3.32 | 99.24
Unit 22 | 117 | 119 | 2.03 | 98.32
Unit 25 | 97 | 100 | 2.80 | 97.00