ERCOT BUSINESS PRACTICE

ERCOT Contingency Reserve Service Deployment and Recall Procedure

Effective XXXX

Version _YY

Document Revisions

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| XX/XX/XXX | 0.1 | Original Version | ERCOT |

PROTOCOL DISCLAIMER

This Business Practice describes ERCOT Systems and the response of these systems to Market Participant submissions incidental to the conduct of operations in the ERCOT Texas Nodal Market implementation and is not intended to be a substitute for the ERCOT Nodal Protocols (available at http://www.ercot.com/mktrules/nprotocols/current), as amended from time to time. If any conflict exists between this document and the ERCOT Nodal Protocols, the ERCOT Nodal Protocols shall control in all respects.

Table of Contents

1.	ERCOT Contingency Reserve Service Deployment and Recall Procedure	5

2.	ERCOT Contingency Reserve Service Deployment	5

3.	Recall of ERCOT Contingency Reserve Service Deployment	9

4.	ERCOT Contingency Reserve Service Deployment and Recall Procedure Revision Process	10

## ERCOT Contingency Reserve Service Deployment and Recall Procedure

ERCOT Contingency Reserve Service (ECRS) is expected to generally be deployed (released to SCED) by LFC based on Frequency trigger defined in the ERCOT Protocol Section 6.5.7.6.2.3. Outside of Frequency triggered ECRS deployment, ECRS may also be manually deployed under the following hituations

- Detection of insufficient capacity for energy dispatch during periodic checking of available capacity.

- When Resources providing ECRS are the only reasonable option available to the Operator to meet NERC Standards and other performance criteria as specified in the Operating Guides and the Protocols.

- .

- When Resources providing ECRS are the only reasonable option available to the Operator for resolving local issues.

In each of these cases, the ERCOT operator will make the final decision and initiate the deployment.  The ERCOT operator shall deploy ECRS in amounts sufficient to respond to the operational circumstances.  This means that ECRS may be deployed partially over time or may be deployed in its entirety.  If ECRS is deployed partially, it shall be deployed in increments of 100% of each Resource’s capacity.  To support partial deployment, ERCOT shall, following the Day-Ahead Market (DAM), rank, for each hour of the Operating Day, the Resources supplying ECRS in an economic order based on DAM Settlement Point Prices. Partial ECRS deployment and recall decisions shall be based on each Resource’s DAM Settlement Point Price in an order such that those with the lowest Settlement Point Price shall be deployed first and recalled starting with the most expensive firstlast.

## ECRS Deployment

ERCOT may deploy ECRSECRS under the following conditions:

- When (HDL – Gen) – (10-minute load ramp) < 0 MW, deploy half of the available SCED dispatchable ECRS capacity.

- When (HDL – Gen) – (10-minute load ramp) < -300 MW, deploy all of the available SCED dispatchable ECRS capacity.

- When PRC < 2400 MW, deploy all of the available ECRS capacity from Load Resources providing ECRS that are not controlled by high-set under-frequency relays.

- When the North-to-Houston (N_H) Voltage Stability Limit Reliability Margin < 200 MW, deploy ECRS (all or partial) in the Houston area as needed to restore reliability margin.

- When Resources providing ECRS are the only reasonable option available to the Operator for resolving local issues, deploy available ECRS capacity on only the necessary individual Resources.

If a condition other than those listed above indicates that additional capacity may need to be brought On-Line to manage reliability, operators will evaluate the system condition and deploy ECRS as needed if no other better options are available to resolve the system condition.  Under emergency, the emergency process will govern the deployment of ECRS.

Following a ECRS deployment, the following steps should be taken:

  - Off-Line Generation Resource reserved for ECRS

- The QSE will be sent a Resource-specific Dispatch Instruction that ECRS has been deployed.

- The Dispatch Instruction must include the expected amount of capacity that will be released to SCED.

- The QSE will ensure that the ECRS Ancillary Service Schedule telemetry for that unit has been reduced to zero within 1 minutes of the Dispatch Instruction.

- The QSE must have the Resource On-Line with an Energy Offer Curve. Generation Resources receiving non-zero SCED BP shall synchronize and reach the SCED BP. If LSL is higher than the SCED BP then Generation Resources receiving non-zero SCED BP shall reach the LSL. m

- SCED will respond to the changes in Resource Status that are received by telemetry from the QSE.

- Once the Resource is On-Line, it is Dispatched as any other Generation Resource including any provisions for processing generation less than the Resource’s LSL.

- The Resource must, at a minimum, be capable of providing all the ECRS energy to SCED within 10 minutes of the Dispatch Instruction.

  - On-Line Generation Resource with an Energy Offer Curve

- For a Resource that will not use power augmentation to provide any portion of its ECRS Ancillary Service Resource Responsibility:

  - The QSE shall set the value of the ECRS Ancillary Service Schedule and Responsibility to match their DAM obligation within the 30-second window prior to the start of the delivery hour.

  - ERCOT will automatically calculate new HASL constraints for SCED using the telemetry of the Resource’s ECRS Ancillary Service Schedule.

  - When deployed ERCOT will ask QSE to update its ECRS Ancillary Service Schedule to reflect ECRS deployment.

    - The Dispatch Instruction must include the expected amount of capacity that will be available for SCED and the anticipated duration of the deployment.

    - The QSE shall reduce the Resource’s ECRS Ancillary Service Schedule to zero within 1 minute following a deployment instruction..

- The QSE must, at a minimum, ensure that the Emergency Ramp Rate represented by the Resource’s ramp rate curve is sufficient to allow SCED to fully Dispatch the Resource’s ECRS Resource Responsibility within 10 minutes, regardless of whether or not the Resource uses power augmentation to provide the service.

- For a Resource that will use power augmentation to provide a specific MW portion of its ECRS Ancillary Service Responsibility:

  - The QSE shall set the value of the ECRS Ancillary Service Schedule and Responsibility to match their DAM obligation within the 30-second window prior to the start of the delivery hour.

  - The QSE shall set the value of the ECRS Ancillary Service Schedule equal to the MW amount of ECRS that will be provided via power augmentation;

  - ECRS Ancillary Service Schedule is always set to a non-zero value, then the QSE will be sent a Resource-specific Dispatch Instruction indicating that ECRS has been deployed for the total amount of the ECRS Schedule.

    - The Dispatch Instruction must include the expected amount of capacity that will be available for SCED and the anticipated duration of the deployment.

    - The QSE shall reduce the Resource’s ECRS Ancillary Service Schedule to zero within 1 minute following a deployment instruction.

  - ERCOT will automatically calculate new HASL constraints for SCED using the telemetry of the Resource’s ECRS Ancillary Service Schedule.

- The QSE must, at a minimum, ensure that the Emergency Ramp Rate represented by the Resource’s ramp rate curve is sufficient to allow SCED to fully Dispatch the Resource’s ECRS Resource Responsibility within 10 minutes, regardless of whether or not the Resource uses power augmentation to provide the service.

  - On-Line Generation Resource with Output Schedules

- The QSE shall set the value of the ECRS Ancillary Service Schedule and Responsibility to match their DAM obligation within the 30-second window prior to the start of the delivery hour.

- ERCOT will automatically calculate new HASL constraints for SCED using the telemetry of the Resource’s ECRS Ancillary Service Schedule.

  - If the QSE is sent a Resource-specific Dispatch Instruction indicating that ECRS has been deployed:

  - The Dispatch Instruction must include the additional amount of power output (MW) that needs to be produced by the Resource and the estimated duration of the deployment.

  - For DSRs providing ECRS, as soon as the QSE receives the deployment, the QSE shall adjust the telemetry Output Schedule to reflect the ECRS deployment.  A DSR QSE with a Load Resource that has provided ECRS will ensure that the Output Schedule is not reduced to reflect the Load deployment if the Load Resource is part of the DSR Load that the Resource follows.

  - For non-DSRs (with Output Schedules) providing ECRS, ERCOT shall increase the Output Schedule used in SCED by the difference between telemetered ECRS Ancillary Service Resource Responsibility and Ancillary Service Schedule to reflect the amount of ECRS power output that is to be provided by the Resource in response to the ECRS deployment.

2.4	Controllable Load Resource with ECRS Ancillary Service Resource Responsibility

- The QSE will be sent a Resource-specific Dispatch Instruction that ECRS has been deployed.

- The Dispatch Instruction must include the expected amount of capacity that will be available for SCED and the anticipated duration of the deployment.

- The QSE will ensure that the ECRS Ancillary Service Schedule telemetry for that Controllable Load Resource has been reduced to zero within 1 minute of the Dispatch Instruction.

- The QSE must have the Controllable Load Resource’s telemetered Resource Status as On-Line (ONRGL and/or ONCLR, whichever is applicable) with an RTM Energy Bid, and the Controllable Load Resource’s telemetered net real power consumption must be greater than or equal to the Controllable Load Resource’s telemetered LPC plus its total upward Ancillary Service Resource Responsibility.

- ERCOT will automatically calculate new LASL constraints for SCED using the telemetry of the Resource’s ECRS Ancillary Service Schedule.

- Once the Controllable Load Resource’s ECRS capacity has been released to SCED, this capacity is Dispatched as any other Resource available to SCED.

- The Controllable Load Resource must, at a minimum, be capable of providing all the ECRS energy to SCED within 10 minutes of the Dispatch Instruction.

2.5  Non-Controllable Load Resource with ECRS Ancillary Service Resource Responsibility

- The QSE will be sent a Resource-specific Dispatch Instruction that ECRS has been deployed.

- The Dispatch Instruction must include the expected amount of capacity that will be curtailed.

- The QSE will ensure that the ECRS Ancillary Service Schedule telemetry for that Controllable Load Resource has been reduced to zero within 1 minute of the Dispatch Instruction.

- The QSE must have the Non-Controllable Load Resource’s telemetered Resource Status as ONECL and the Non-Controllable Load Resource’s telemetered net real power consumption must be greater than or equal to the Non-Controllable Load Resource’s telemetered LPC plus its total upward Ancillary Service Resource Responsibility.

- The Controllable Load Resource must, at a minimum, be capable of curtailing all the ECRS energy within 10 minutes of the Dispatch Instruction.

## Recall of ECRS Deployment

Half of the deployed ECRS will be recalled when (HDL- Gen) – (10-minute load ramp) > 1000 MW and PRC is > 2800 MW.  All of the deployed ECRS will be recalled when (HDL- Gen) – (10-minute load ramp) > 1000 MW and PRC is > 3000 MW.

Following the recall of an ECRS deployment, the following steps should be taken:

- After recall, the QSE for a Generation Resource will be allowed to use normal shutdown procedures to take the Generation Resource Off-Line if the QSE wants to shut down the Resource.  In this case, the ECRS Ancillary Service Schedule for that Generation Resource will be reset to equal the ECRS Ancillary Service Responsibility for that Generation Resource for that hour.  A QSE with a Generation Resource that was previously Off-Line will be allowed to keep the Generation Resource On-Line after the minimum On-Line time, provided that the difference between its HSL and LSL is greater than or equal to its Ancillary Service Resource Responsibility.

- A QSE with a Generation Resource (with an Energy Offer Curve) that will stay On-Line may set the value of the ECRS Ancillary Service Schedule equal to the MW amount of ECRS that will be provided via power augmentation; otherwise, the QSE will ensure that the value of the ECRS Ancillary Service Schedule for that Resource is set to 0 MW.

- A QSE with a DSR Generation Resource (with an Output Schedule) that will stay On-Line will back out the ECRS addition that was made to the Output Schedule.  This can be incrementally deleted depending on the size of the deployment and Normal Ramp Rate.  For non-DSR Generation Resources, SCED will use the QSE submitted non-DSR Output Schedule once the ECRS has been recalled.

- A QSE with a Controllable Load Resource that has provided ECRS will ensure that the Load energy and ECRS capability is restored by following ERCOT SCED Base Point. If the QSE is not able to restore the CLR ECRS Responsibility then, the ECRS obligation must be replaced by the QSE on other Generation or Controllable Load Resources capable of providing the service.

- A QSE with a Non-Controllable Load Resource that has provided ECRS will ensure that the Load energy and ECRS capability is restored within three hours from the expiration of the ECRS deployment.  If it is not, the ECRS capability must be replaced by the QSE on other Generation or Controllable Load Resources capable of providing the service.

- Non-ControllaLoadt may or may led by high-seprovided ECRS will ensure that the restored within three hours from the ECRS deploymentf itbility must be replace ther Generationntroroviding the service.

If ECRS has been deployed in the Houston area to help manage the N_H Voltage Stability Limit, the deployments will be recalled once reliability margins have been restored to a manageable level.

## ERCOT Contingency Reserve Service Deployment and Recall Procedure Revision Process

Revisions to the  ERCOT Contingency Reserve Service Deployment and Recall Procedure shall be made according to the approval process as prescribed in Protocol Section 6.5.7.6.2.3,  ERCOT Contingency Reserve Service Deployment.