## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to ROS
November 8, 2018
Dylan Preas
PGDTF Chair
<number>
Notes: <number>

## Slide 2: PGDTF Meeting
Business meeting was held on October 10th
Discussed Federal and State activities regarding GMD
  Texas A&M magnetometer project update expected in November
Discussed Vulnerability Assessment Event Descriptions
  TSP sharing –> CenterPoint Energy presented their approach
  Submission deadline to ERCOT is December 31, 2018
Final GIC Flows posted by ERCOT
  Preliminary GIC flows posted by ERCOT on July 16, 2018
  TSPs and REs provided comments to the preliminary GIC flows
  Market notice to REs and TSPs on October 29th -> final GIC flows posted
  Meets NERC TPL-007-1 R5 (due by Jan 1, 2019)
<number>
11/8/2018 ROS Meeting
Notes: <number>

## Slide 3: PGDTF Meeting
GIC System Model Procedure Manual update underway
  Development of a “modeling expectations” document
2022 SSWG summer peak/min case building
  Update the GIC System models for the GMD Vulnerability Assessment
Review of the ERCOT GMD Vulnerability Scope
Update the PGDTF Scope
11/8/2018 ROS Meeting
<number>

## Slide 4: Upcoming PGDTF Activities
  GMD Vulnerability Event Descriptions
  PGDTF Scope update
  GIC System Model Procedure Manual
  2022 GIC System Model case building
  ERCOT GMD Vulnerability Assessment
<number>
11/8/2018 ROS Meeting

## Slide 5: Questions
<number>
11/8/2018 ROS Meeting