## Slide 1
ERCOT Update – DSWG Meeting
ERCOT Staff
October 26, 2018

## Slide 2: ERS Time Period Changes
Effective: Starting with the October2019 – January2020 SCT
Purpose:
  Weekend and Holiday high load ramp hours becoming bigger concern for ERCOT and therefore carving out those hours from the late night, weekend and Holiday time period
  Minor changes to the time periods during the week based on shifts in the high load ramps periods being observed by ERCOT

## Slide 3: Existing ERS Time Periods
Time Period | Time Period Hours
Time Period 1 | Hours Ending 0600 - 0800 (5:00:00 a.m. to 8:00:00 a.m.) Monday through Friday except ERCOT Holidays.
Time Period 2 | Hours Ending 0900 - 1300 (8:00:00 a.m. to 1:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 3 | Hours Ending 1400 - 1600 (1:00:00 p.m. to 4:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 4 | Hours Ending 1700 - 1900 (4:00:00 p.m. to 7:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 5 | Hours Ending 2000 - 2200 (7:00:00 p.m. to 10:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 6 | All other hours

## Slide 4: Proposed ERS Time Periods
Time Period | Time Period Hours
Time Period 1 | Hours Ending 0600 - 0900 (5:00:00 a.m. to 9:00:00 a.m.) Monday through Friday except ERCOT Holidays.
Time Period 2 | Hours Ending 1000 - 1500 (9:00:00 a.m. to 3:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 3 | Hours Ending 1600 - 1800 (3:00:00 p.m. to 6:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 4 | Hours Ending 1900 - 2100 (6:00:00 p.m. to 9:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 5 | Hours Ending 0600 - 0900 (5:00:00 a.m. to 9:00:00 a.m.) Saturday, Sunday and Holidays
Time Period 6 | Hours Ending 1600 - 2100 (3:00:00 p.m. to 9:00:00 p.m.) Saturday, Sunday and Holidays
Time Period 7 | All other hours

## Slide 5: ERS Time Period Comparison
Time Period | Current | Proposed
TP1 | Hours Ending 0600 - 0800 (5:00:00 a.m. to 8:00:00 a.m.) Mon.-Fri. (Except Holidays) | Hours Ending 0600 - 0900 (5:00:00 a.m. to 9:00:00 a.m.) Mon.-Fri. (Except Holidays)
TP2 | Hours Ending 0900 - 1300 (8:00:00 a.m. to 1:00:00 p.m.) Mon.-Fri. (Except Holidays) | Hours Ending 1000 - 1500 (9:00:00 a.m. to 3:00:00 p.m.) Mon.-Fri. (Except Holidays)
TP3 | Hours Ending 1400 - 1600 (1:00:00 p.m. to 4:00:00 p.m.) Mon.-Fri. (Except Holidays) | Hours Ending 1600 - 1800 (3:00:00 p.m. to 6:00:00 p.m.) Mon.-Fri. (Except Holidays)
TP4 | Hours Ending 1700 - 1900 (4:00:00 p.m. to 7:00:00 p.m.) Mon.-Fri. (Except Holidays) | Hours Ending 1900 - 2100 (6:00:00 p.m. to 9:00:00 p.m.) Mon.-Fri. (Except Holidays)
TP5 | Hours Ending 2000 - 2200 (7:00:00 p.m. to 10:00:00 p.m.) Mon.-Fri. (Except Holidays) | Hours Ending 0600 - 0900 (5:00:00 a.m. to 9:00:00 a.m.) Sat., Sun., & Holidays
TP6 | All other hours | Hours Ending 1600 - 2100 (3:00:00 p.m. to 9:00:00 p.m.) Sat., Sun., & Holidays
TP7 | N/A | All other hours

## Slide 6: ERS Time Period Comparison
01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
TP1
TP2
TP3
TP4
TP5
TP6
TP6
TP1
TP2
TP3
TP4
TP7
TP7
TP5
TP7
TP6
TP7
TP7
TP6
Current Weekday
Proposed Weekday
Current Weekend/Holiday
Proposed Weekend/Holiday