| NPRR Number | 863 | NPRR Title | Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve |
| --- | --- | --- | --- |
| Impact Analysis Date |  | November 14, 2018 |  |
| Estimated Cost/Budgetary Impact |  | Between $2.5M and $3.5M See Comments. |  |
| Estimated Time Requirements |  | The timeline for implementing this Nodal Protocol Revision Request (NPRR) is dependent upon ERCOT Board prioritization and approval. Please see the Project Priority List (PPL) for additional information. Estimated project duration: 20 to 30 months |  |
| ERCOT Staffing Impacts (across all areas) |  | Project Labor: 40% ERCOT; 60% Vendor Ongoing Requirements: No impacts to ERCOT staffing. |  |
| ERCOT Computer System Impacts |  | The following ERCOT systems would be impacted: - Market Management Systems (MMS) 81% - Data and Information Products (DAIP) 6% - Energy Management System (EMS) 3% - Market Settlements (S&B) 2% - Integration 2% - BI & Data Analytics 2% - CRM & Registration System (REG) 1% - Network Model Management System (NMMS) 1% - Operator Training Simulator (OTS) 1% - Data Access & Transparency 1% |  |
| ERCOT Business Function Impacts |  | ERCOT will update its business processes to implement this NPRR. |  |
| Grid Operations & Practices Impacts |  | ERCOT will update grid operations and practices to implement this NPRR. |  |

Evaluation of Interim Solutions or Alternatives for a More Efficient Implementation

None offered.

Comments

IT infrastructure requirements are assumed to be delivered with existing infrastructure or by combining this effort with other projects for increased efficiency.