| NPRR Number | 891 | NPRR Title | Removal of NOIE Capacity Reporting Threshold for the Unregistered Distributed Generation Report |
| --- | --- | --- | --- |
| Date |  | September 7, 2018 |  |
| Submitter’s Information |  |  |  |
| Name |  | Clif Lange |  |
| E-mail Address |  | clif@stec.org |  |
| Company |  | STEC |  |
| Phone Number |  | (361) 485-6206 |  |
| Cell Number |  | (361) 894-3465 |  |
| Market Segment |  | Cooperative |  |

Comments

STEC appreciates ERCOT’s willingness to accommodate the concerns raised by several NOIEs regarding the risk of compliance jeopardy imposed by ERCOT’s original language which would have placed NOIEs in a state of non-compliance had a NOIE not reported DG installations for which it was unaware.  STEC also appreciates ERCOT’s recognition of the need for an exemption process for some NOIEs.

However, STEC is uncomfortable with an exemption process that lacks guidelines and relies entirely on ERCOT discretion from year to year.  STEC strongly prefers to have a process in place that provides clear guidance to NOIEs and to the market regarding which entities need to report DG installations less than 50 kW on a quarterly basis.

STEC’s conversations with ERCOT have yielded that there are varying degrees of DG penetration in the service areas of each NOIE distribution provider, which is largely driven by the services made available by the NOIE to its consumers.  As such, STEC proposes language that would exempt NOIEs below a summer peak Demand of 1,000 MW (non-coincident with ERCOT) from reporting DG that is less than 50 kW in size unless the NOIE has had a program at any time after Nodal go-live that promotes the installation of DG in its service territory.  STEC chose the 1,000 MW threshold based on analysis of the 2017 4CP data which shows that approximately only 13% of ERCOT load is represented by NOIEs that are below this threshold.  These changes should capture the NOIEs for which ERCOT has the most interest and reduces the administrative burden imposed on those NOIEs that have very low DG penetration.

Revised Cover Page Language

None

Revised Proposed Protocol Language

- 3.2.5.1	Unregistered Distributed Generation Reporting Requirements for Non Opt-In Entities

(1)	This Section describes the data that shall be submitted to ERCOT for the unregistered Distributed Generation (DG) behind Non-Opt-In Entity (NOIE) boundary metering points.

(2)	Within ten Business Days after the end of each quarter, the NOIE shall submit to ERCOT electronically, the required data described below as of the last day of the prior quarter by submitting the designated form provided on the ERCOT website.  The report shall include the  NOIE’s total aggregate unregistered DG MW capacity, and account for systems used to support self-serve load, exports to the Distribution System, or both.

(a)	NOIEs who have a 15-minute summer peak Demand of less than 1,000 MW, non-coincident with ERCOT, are required to report only unregistered DG MW capacity above 50 kW, and may report anything of 50 kW or less if the data is readily available and identifiable.  If at any time the NOIE has reported to ERCOT unregistered DG capacity of 50kW or less, they shall continue to report all unregistered DG MW capacity in all future reports.

(b)	NOIEs with a 15- minute summer peak Demand of greater than 1,000 MW, non-coincident with ERCOT, must report all unregistered DG MW capacity.

(c)	NOIEs that at any time after December 1, 2010 have adopted programs whose intention is to directly promote the installation of unregistered DG capacity at a Customer Premise, through either direct sales of equipment to the Customer or through partnerships that effectuate such, shall report all unregistered DG MW capacity.

(d)	The capacity shall be reported by Load Zone and by primary fuel type as follows:

(i)	Solar;

(ii)	Wind;

(iii) 	Other renewable; and

(iv) 	Other non-renewable.

(3)	Capacity reporting  is only required to include the capacity known to the NOIE at the time that its quarterly report is being prepared, and shall not require the NOIE to conduct new survey activities for their service territory to identify unknown unregistered DG installations.