| SCR Number | 797 | SCR Title | Provide IRR Current Operating Plan (COP) to TSPs |
| --- | --- | --- | --- |

| Date | November 8, 2018 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Martha Henson |
| E-mail Address | martha.henson@oncor.com |
| Company | Oncor Electric Delivery Company, LLC |
| Phone Number |  |
| Cell Number | 214-536-9004 |
| Market Segment | Investor Owned Utility (IOU) |

Comments

Oncor offers the following language revisions to System Change Request (SCR) 797 to allow all Current Operating Plan (COP) information to be made available to Transmission Service Providers (TSPs) by ERCOT.

Revised Cover Page Language

| SCR Number | 797 | SCR Title | Provide Current Operating Plans (COPs) to TSPs |
| --- | --- | --- | --- |
| Date Posted |  | October 3, 2018 |  |
| Requested Resolution |  | Normal |  |
| Supporting Protocol or Guide Section(s) (If applicable) |  | Nodal Protocol Section 1.3.6, Exceptions |  |
| Other Document Reference/Source |  | None |  |
| System Change Description |  | This System Change Request (SCR) will allow ERCOT to automatically share Current Operating Plans (COPs) with a Transmission Service Provider (TSP) upon request by that TSP. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | TSPs need to know the expected output of Resources, particularly IRRs, in order to accurately perform analyses in the operational planning time frame. Utilizing studies conducted with the expected Resource behavior will improve the accuracy of TSPs’ operations planning activities and avoid unnecessary operational issues in Real-Time. |  |

Proposed System Change

Issue:

For reliability purposes, Transmission Service Providers (TSPs) periodically perform near-term operational studies before and during an Operating Day.  Streamlined access to Current Operating Plan (COP) information will enable TSPs to more accurately perform these studies.

Specifically for Intermittent Renewable Resources (IRRs), the ERCOT Transmission Grid continues to see growth in both wind and solar generation penetration. The accuracy of TSP studies and operations planning activities will be improved if these are conducted using expected output of wind and solar generation.  This improvement will enhance ERCOT’s Real-Time grid operations reliability.

Paragraph (1) of Protocol Section 1.3.6, Exceptions, currently allows ERCOT to share COP information with TSPs without violating Section 1.3, Confidentiality.

Resolution:

For non-IRRs, ERCOT will provide COP information for the next 168 hours as submitted to ERCOT by each Resource.

For IRRs, per Protocol Section 3.13, Renewable Production Potential Forecasts, ERCOT is required to produce both Wind and Solar forecasts for each Wind-powered Generation Resource (WGR) and Photovoltaic Generation Resource (PVGR) for the next 168 hours. This forecast information is then pre-populated as the WGR’s/PVGR’s COP.

This System Change Request (SCR) will implement changes that would allow ERCOT to automatically provide COP information to a TSP based on a formal request to ERCOT from that TSP.