## Slide 1
Item 4: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
November 29, 2018

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR871, Customer or Resource Entity Funded Transmission Projects Review Process [ERCOT]*
NPRR881, Annual Validation Process Revisions [CenterPoint and TXU]*
NPRR882, Related to PGRR067, Procedures for Wind and Solar Equipment Change [ERCOT]*
NPRR892, Non-Spin Reserve Energy Floor Clarification [ERCOT]*
NPRR893, Clarification of Fuel Index Price and Incorporation of System-Wide Offer Cap and Scarcity Pricing Mechanism Methodology into Protocols [ERCOT]*
NPRR894, Correction of Unaccounted For Energy (UFE) Formula [ERCOT]*
NPRR897, Adjustments to Black Start Service (BSS) Procurement Timeline and Testing [ERCOT]*
NPRR898, Modify Language on Returning Original EPS Metering Site Certification Documents to the TDSP [ERCOT]*
(* denotes no impact)

## Slide 3: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR850, Market Suspension and Restart [ERCOT]
  IA: Less than $10k (O&M) Priority n/a; Rank n/a
NPRR879, SCED Base Point, Base Point Deviation, and Performance Evaluation Changes for IRRs that Carry Ancillary Services [ERCOT]
  IA: Between $200k and $250k Priority 2020; Rank 2800
NPRR884, Adjustments to Pricing and Settlement for Reliability Unit Commitments (RUCs) of On-Line Combined Cycle Generation Resources [ERCOT]
  IA: Between $300k and $400k Priority 2019; Rank 2590

## Slide 4: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR887, Monthly Posting of Default Uplift Exposure Information [Citigroup]
  IA: Between $50k and $75k Priority 2019; Rank 2560
NPRR895, Inclusion of Photo-Voltaic Generation Resources (PVGRs) in Real-Time Ancillary Service Imbalance Payment or Charge [ERCOT]
  IA: Between $10k and $20k Priority 2019; Rank 2570
NPRR899, Digital Certificate and User Security Administrator Clarifications and Opt Out Procedure [ERCOT]
  IA: Between $15k and $25k Priority 2019; Rank 2600

## Slide 5: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR901, Switchable Generation Resource Status Code - URGENT [ERCOT]
  IA: Between $150k and $250k Priority 2019; Rank 2505
SCR797, Provide Current Operating Plans (COPs) to TSPs [ERCOT]
  IA: Between $30k and $50k Priority 2019; Rank 2610

## Slide 6: Appendix

## Slide 7: NPRR850, Market Suspension and Restart [ERCOT]
Proposed Effective Date: January 1, 2019
ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR lays out principles for ERCOT and Market Participants to follow in the event of a Market Suspension and Market Restart; and specifies the means of Settlement during a Market Suspension and for Market Restart.
PRS Decision: On 8/16/18, PRS unanimously voted to recommend approval of NPRR850 as amended by the 5/17/18 ERCOT comments. On 11/15/18, PRS unanimously voted to endorse and forward to TAC the 8/16/18 PRS Report as amended by the 11/5/18 LCRA comments and Impact Analysis for NPRR850.

## Slide 8: NPRR871, Customer or Resource Entity Funded Transmission Projects Review Process [ERCOT]
Proposed Effective Date: January 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated
Revision Description: This NPRR addresses the review process for transmission projects that are funded by Customers or Resource Entities. Similar language was included in the initial filing of NPRR837, Regional Planning Group (RPG) Process Reform, but after discussion with stakeholders was removed from that NPRR to allow for a standalone review of the language.
PRS Decision: On 10/18/18, PRS unanimously voted to recommend approval of NPRR871 as amended by the 10/1/18 Reliant Energy Joint comments. On 11/15/18, PRS unanimously voted to endorse and forward to TAC the 10/18/18 PRS Report and Impact Analysis for NPRR871.

## Slide 9: NPRR879, SCED Base Point, Base Point Deviation, and Performance Evaluation Changes for IRRs that Carry Ancillary Services [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2800
ERCOT Impact Analysis: Between $200k and $250k; no impacts to ERCOT staffing; impacts to Data and Information Products (DAIP), Market Settlements (S&B), Business Intelligence (BI) & Data Analytics, Energy Management System (EMS), Network Model Management System (NMMS), and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR proposes that Intermittent Renewable Resources (IRRs) carrying Ancillary Service responsibilities receive a Security Constrained Economic Dispatch (SCED) Base Point calculated using the five-minute intra-hour forecast of the Resource. Generation Resource Energy Deployment Performance (GREDP) metrics are added to score performance during these intervals. This NPRR contains clean-up changes to correct the unit of measure for some billing determinants, and an as-built correction to the Settlement equation in paragraph (4) of Section 6.6.5.2, IRR Generation Resource Base Point Deviation Charge; and also contains administrative edits to paragraphs (7) – (9) of Section 8.1.1.4.1, Regulation Service and Generation Resource/Controllable Load Resource Energy Deployment Performance, to align the paragraph numbering with current Protocol formatting style.
PRS Decision: On 9/13/18, PRS unanimously voted to recommend approval of NPRR879 as amended by the 8/3/18 ERCOT comments as revised by PRS. On 10/18/18, PRS unanimously voted to endorse and forward to TAC the 9/13/18 PRS Report as amended by the 9/25/18 ERCOT comments and the Revised Impact Analysis for NPRR879 with a recommended priority of 2020 and rank of 2800.

## Slide 10: NPRR881, Annual Validation Process Revisions [CenterPoint and TXU]
Proposed Effective Date: January 1, 2019
ERCOT Impact Analysis: No budgetary impact; approximately 0.10 Full-Time Employee (FTE) savings in the Load Forecasting department; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR creates market efficiencies by reducing the Residential (RES) validations requirements from being an annual to an every third year market event.
PRS Decision: On 9/13/18, PRS unanimously voted to recommend approval of NPRR881 as submitted. On 10/18/18, PRS unanimously voted to endorse and forward to TAC the 9/13/18 PRS Report and Impact Analysis for NPRR881.

## Slide 11: NPRR882, Related to PGRR067, Procedures for Wind and Solar Equipment Change [ERCOT]
Proposed Effective Date: January 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR updates the definition of Initial Synchronization and Interconnecting Entity to include certain types of facility equipment changes and clarifies Generation Interconnection or Change Request (GINR)-related fee language.
PRS Decision: On 10/18/18, PRS unanimously voted to recommend approval of NPRR882 as amended by the 9/13/18 ERCOT comments. On 11/15/18, PRS unanimously voted to endorse and forward to TAC the 10/18/18 PRS Report and Impact Analysis for NPRR882.

## Slide 12: NPRR884, Adjustments to Pricing and Settlement for Reliability Unit Commitments (RUCs) of On-Line Combined Cycle Generation Resources [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2590
ERCOT Impact Analysis: Between $300k and $400k; no impacts to ERCOT staffing; impacts to S&B, Market Management Systems (MMS), DAIP, and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR introduces into the Protocols various changes needed for ERCOT systems to effectively manage cases where ERCOT issues a Reliability Unit Commitment (RUC) instruction to a Combined Cycle Generation Resource that is already Qualified Scheduling Entity (QSE)-committed for an hour, with the instruction being that the Resource operate in a configuration with greater capacity for that same hour.
PRS Decision: On 10/18/18, PRS unanimously voted to recommend approval of NPRR884 as amended by the 10/11/18 ERCOT comments. On 11/15/18, PRS unanimously voted to endorse and forward to TAC the 10/18/18 PRS Report as amended by the 11/1/18 ERCOT comments and Impact Analysis for NPRR884 with a recommended priority of 2019 and rank of 2590.

## Slide 13: NPRR887, Monthly Posting of Default Uplift Exposure Information [Citigroup]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2560
ERCOT Impact Analysis: Between $50k and $75k; no impacts to ERCOT staffing; impacts to BI & Data Analytics, S&B, DAIP, and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR creates a new Market Information System (MIS) Certified Area posting which provides insight to the potential risk associated with default uplift charges to each Counter-Party.
PRS Decision: On 9/13/18, PRS unanimously voted to recommend approval of NPRR887 as amended by the 9/5/18 ERCOT comments. On 10/18/18, PRS unanimously voted to endorse and forward to TAC the 9/13/18 PRS Report and Impact Analysis for NPRR887 with a recommended priority of 2019 and rank of 2560.

## Slide 14: NPRR892, Non-Spin Reserve Energy Floor Clarification [Morgan Stanley]
Proposed Effective Date: January 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated
Revision Description: This NPRR places a floor on energy on units carrying Non-Spinning Reserve (Non-Spin) and Responsive Reserve (RRS) and/or Regulation Up Service (Reg-Up) concurrently to ensure the Non-Spin capacity is priced above the $75/MWh floor.
PRS Decision: On 10/18/18, PRS unanimously voted to recommend approval of NPRR892 as amended by the 10/5/18 ERCOT comments. On 11/15/18, PRS unanimously voted to endorse and forward to TAC the 10/18/18 PRS Report and Impact Analysis for NPRR892.

## Slide 15: NPRR893, Clarification of Fuel Index Price and Incorporation of System-Wide Offer Cap and Scarcity Pricing Mechanism Methodology into Protocols [ERCOT]
Proposed Effective Date: January 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated
Revision Description: This NPRR clarifies the effective Fuel Index Price (FIP) used in market activities executed prior to the publication of the index for the Operating Day. FIP is used by multiple applications, and the current FIP definition does not address the timing around receiving the data and when it can feasibly be used by market applications. Additionally, this NPRR incorporates the Other Binding Document (OBD) “System-Wide Offer Cap and Scarcity Pricing Mechanism Methodology” into Protocols.
PRS Decision: On 10/18/18, PRS unanimously voted to recommend approval of NPRR893 as submitted. On 11/15/18, PRS unanimously voted to endorse and forward to TAC the 10/18/18 PRS Report as amended by the 10/29/18 ERCOT comments and Impact Analysis for NPRR893.

## Slide 16: NPRR894, Correction of Unaccounted For Energy (UFE) Formula [ERCOT]
Proposed Effective Date: January 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR corrects the formula for allocation of Unaccounted For Energy (UFE) to UFE categories by removing obsolete components of the formula referring to distribution voltage level Non-Opt-In Entities (NOIEs).
PRS Decision: On 9/13/18, PRS voted unanimously to recommend approval of NPRR894 as submitted. On 10/18/18, PRS voted unanimously to endorse and forward to TAC the 9/13/18 PRS Report as revised by PRS, and Impact Analysis for NPRR894.

## Slide 17: NPRR895, Inclusion of Photo-Voltaic Generation Resources (PVGRs) in Real-Time Ancillary Service Imbalance Payment or Charge [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2570
ERCOT Impact Analysis: Between $10k and $20k; no impacts to ERCOT staffing; impacts to S&B; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR removes the current exclusion that applies to all IRRs that are not Wind-powered Generation Resources (WGRs) in the calculation of the Real-Time Ancillary Service Imbalance Payment or Charge. As such, PVGRs are currently excluded in both the Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder and the Settlement of Real-Time Ancillary Service Imbalance Payment or Charge.
PRS Decision: On 9/13/18, PRS unanimously voted to recommend approval of NPRR895 as submitted. On 10/18/18, PRS unanimously voted to endorse and forward to TAC the 9/13/18 PRS Report and Impact Analysis for NPRR895 with a recommended priority of 2019 and rank of 2570.
Credit WG: See 9/19/18 Credit WG comments.

## Slide 18: NPRR897, Adjustments to Black Start Service (BSS) Procurement Timeline and Testing [ERCOT]
Proposed Effective Date: January 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR adjusts the timeline for the Black Start Service (BSS) procurement and testing process, adds a weather limitation disclosure form, and aligns the Load-Carrying Test procedure with actual practice.
PRS Decision: On 10/18/18, PRS voted to recommend approval of NPRR897 as amended by the 10/15/18 ROS comments as revised by PRS. There was one abstention from the Municipal (DME) Market Segment. On 11/15/18, PRS unanimously voted to endorse and forward to TAC the 10/18/18 PRS Report and Impact Analysis for NPRR897.

## Slide 19: NPRR898, Modify Language on Returning Original EPS Metering Site Certification Documents to the TDSP [ERCOT]
Proposed Effective Date: January 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR allows the electronic return of ERCOT-Polled Settlement (EPS) Metering site certification documents to the Transmission and/or Distribution Service Provider (TDSP). Current Nodal Protocol language requires ERCOT to return original EPS metering site certification documents to the TDSP. ERCOT currently returns the original documents through the postal service.
PRS Decision: On 10/18/18, PRS unanimously voted to recommend approval of NPRR898 as submitted. On 11/15/18, PRS unanimously voted to endorse and forward to TAC the 10/18/18 PRS Report and Impact Analysis for NPRR898.

## Slide 20: NPRR899, Digital Certificate and User Security Administrator Clarifications and Opt Out Procedure [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2600
ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to CRM & Registration System (REG), DAIP, External Public, and Data Access & Transparency; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR modifies Section 16, Registration and Qualification of Market Participants, and Section 23, Forms B, E, and J; and adds Form L. This NPRR makes the following primary modifications to Section 16: (1) Creates a new process by which qualified Market Participants can request to opt-out of receiving Digital Certificates and having to appoint a User Security Administrator (USA). If ERCOT determines that a Market Participant is qualified to opt-out, that Market Participant will not have the ability to request/utilize Digital Certificates or access to the MIS; (2) Clarifies ambiguous requirements Digital Certificate holders must meet to receive and continue to hold Digital Certificates; and (3) Clarifies that a USA may be responsible for managing access to certain ERCOT computer systems that do not require Digital Certificates, such as the online Resource Integration and Ongoing Operations (RIOO) system, which is currently expected to be implemented later in 2018. This NPRR makes the following modifications to Section 23: (1) Revises Form B and Form J to give new applicants the ability to opt-out of receiving Digital Certificates as long as they meet the necessary qualifications; (2) Revises Form E to allow a qualified Market Participant that has previously opted-out of receiving Digital Certificates to opt back in, and therefore become eligible to receive Digital Certificates; and (3) Adds Form L. Additional revisions streamline and clarify the Digital Certificate and USA process.
PRS Decision: On 10/18/18, PRS voted to recommend approval of NPRR899 as submitted. There were two abstentions from the Independent Power Marketer (IPM) (Tenaska) and the Independent Retail Electric Provider (IREP) (Reliant) Market Segments. On 11/15/18, PRS unanimously voted to endorse and forward to TAC the 10/18/18 PRS Report and Impact Analysis for NPRR899 with a recommended priority of 2019 and rank of 2600.

## Slide 21: NPRR901, Switchable Generation Resource Status Code - URGENT [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2505
ERCOT Impact Analysis: Between $150k and $250k; no impacts to ERCOT staffing; impacts to MMS, DAIP, EMS, BI & Data Analytics, Integration, and CRM & Registration System (REG); no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR proposes a new Resource Status code “EMRSWGR” for Switchable Generation Resources (SWGRs) operating in a non-ERCOT Control Area in order to provide additional transparency for operations and reporting.
PRS Decision: On 11/15/18, PRS voted to grant NPRR901 Urgent status. There was one abstention from the IPM (Morgan Stanley) Market Segment. PRS then voted to recommend approval of NPRR901 as submitted and to forward to TAC. There were two abstentions from the IPM (Morgan Stanley) and Municipal (DME) Market Segments. Finally, PRS voted to recommend a priority of 2019 and rank of 2505 for NPRR901. There was one abstention from the IPM (Morgan Stanley) Market Segment.

## Slide 22: SCR797, Provide Current Operating Plans (COPs) to TSPs [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2610
ERCOT Impact Analysis: Between $30k and $50k; no impacts to ERCOT staffing; impacts to DAIP, MMS, Integration, and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This SCR will allow ERCOT to automatically share Current Operating Plans (COPs) with a Transmission Service Provider (TSP) upon request by that TSP.
PRS Decision: On 10/18/18, PRS voted to recommend approval of SCR797 as submitted. There was one abstention from the Independent Retail Electric Provider (IREP) (Reliant) Market Segment. On 11/15/18, PRS unanimously voted to endorse and forward to TAC the 10/18/18 PRS Report as amended by the 11/8/18 Oncor comments and Impact Analysis for SCR797 with a recommended priority of 2019 and rank of 2610.

## Slide 23: 2018 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/6 – 2/8 | April 4/5 – 4/9 | May 5/29 – 5/31 | August 8/7 – 8/9 | October 10/23 – 10/25 | December 12/11 – 12/13
NPRR659 NPRR683 NPRR743 NPRR760 NPRR800 NPRR810 PGRR042 NPRR846 | NPRR562(b) SCR792 NPRR776 NOGRR167 | NPRR768 NPRR815 OBDRR002 PGRR057 | NPRR819 NPRR844 NPRR854 SCR791 NPRR702 (partial implementation) NPRR825(a) | NPRR843(a) NPRR864 NPRR875 SCR795 RRGRR015 | NPRR809(b) NPRR833(a/b) NPRR843(b) PGRR063 NPRR831(b) SCR777
7/2
E
E
E
E
E
9/1
CMM Release 1a
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
1/1 & 2/1
NPRR825(a) – NoticeBuilder changes
NPRR562(b) – Reporting/posting system changes
NPRR809(b) – Reporting/posting system changes
NPRR833(a) – DAM system changes
NPRR833(b) – SCED system changes
NPRR843(a) – CDR, 48 hour, & 7 day reports
NPRR843(b) – 60 day reports
TBD Items (and point at which they became “TBD”)
2014 | 2015 | 2016 | 2017 | 2018
NPRR664 | None | SCR781 P | NPRR702 P, SCR777, NPRR831(b), NPRR749 | RRGRR016, NPRR519, NPR620, NPRR741, NPRR755
1/1
2/1
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
11/1
ü
11/19
6/1
ü
ü
ü
ü
ü
ü
10/1
ü
E