| NPRR Number | 882 | NPRR Title | Related to PGRR067, Procedures for Wind and Solar Equipment Change |
| --- | --- | --- | --- |
| Date of Decision |  | November 15, 2018 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | January 1, 2019 |  |
| Priority and Rank Assigned |  | Not Applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions ERCOT Fee Schedule |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Planning Guide Revision Request (PGRR) 067, Procedures for Wind and Solar Equipment Change |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) updates the definition of Initial Synchronization and Interconnecting Entity to include certain types of facility equipment changes and clarifies Generation Interconnection or Change Request (GINR)-related fee language. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | There is currently not explicit language in the Nodal Protocols or Planning Guide related to how certain types of wind and solar equipment changes should be treated in the GINR process. This NPRR and the related PGRR are intended to close that gap and include facilities with wind and solar equipment changes in planning studies, as appropriate. In addition, this NPRR clarifies the required fees related to the Generation Interconnection and Full Interconnection Study (FIS) processes. |  |
| Credit Work Group Review |  | To be determined |  |
| PRS Decision |  | On 7/19/18, PRS voted unanimously to table NPRR882 and refer the issue to ROS. All Market Segments were present for the vote. On 10/18/18, PRS voted unanimously to recommend approval of NPRR882 as amended by the 9/13/18 ERCOT comments. All Market Segments were present for the vote. On 11/15/18, PRS voted unanimously to endorse and forward to TAC the 10/18/18 PRS Report and Revised Impact Analysis for NPRR882. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 7/19/18, there was no discussion. On 10/18/18, there was no discussion. On 11/15/18, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | John Bernecker |
| E-mail Address | John.Bernecker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4274 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 071318 | Requested PRS table NPRR882 to allow review by the Planning Working Group (PLWG) |
| ERCOT 080118 | Proposed correction to the use of a defined term, and requested an effective date of November 2, 2018 for NPRR882 |
| ERCOT 083118 | Offered a definition for re-power |
| ROS 090718 | Requested PRS continue to table NPRR882 for further review by the PLWG |
| ERCOT 091318 | Withdrew the definition for re-power in favor of specific technology-based changes described in PGRR067 |
| ROS 101518 | Endorsed NPRR882 as amended by the 9/13/18 ERCOT comments |

Market Rules Notes

None

Proposed Protocol Language Revision

## 2.1	DEFINITIONS

- Initial Synchronization

The first time an All-Inclusive Generation Resource facility’s new equipment injects power to the ERCOT System during commissioning.

Interconnecting Entity (IE)

Any Entity that has submitted a Generation Interconnection or Change Request Application proposing to interconnect or modify an All-Inclusive Generation Resource meeting paragraph (1) of Planning Guide Section 5.1.1, Applicability, but that has not yet submitted the Resource Registration data for the new All-Inclusive Generation Resource or change thereto pursuant to paragraph (1) of Section 16.5, Registration of a Resource Entity.

- ERCOT Fee Schedule

- TBD

The following is a schedule of ERCOT fees currently in effect.

| Description | Nodal Protocol Reference | Calculation/Rate/Comment |
| --- | --- | --- |
| ERCOT System Administration fee | 9.16.1 | $0.555 per MWh to fund ERCOT activities subject to Public Utility Commission of Texas (PUCT) oversight. This fee is charged to all Qualified Scheduling Entities (QSEs) based on Load represented. |
| Private Wide Area Network fees | 9.16.2 | Actual cost of using third party communications network - Initial equipment installation cost not to exceed $25,000, and monthly network management fee not to exceed $1,500. |
| ERCOT Generation Interconnection fee (Not Refundable) | NA | Application to interconnect an All-Inclusive Generation Resource to the ERCOT Transmission Grid. $5,000 (less than or equal to 150MW) $7,000 (greater than 150MW) |
| Full Interconnection Study Application fee (Not Refundable) | NA | $15 per MW − to support ERCOT system studies and coordination. Applicable MW amount per Planning Guide Section 5, Generation Resource Interconnection or Change Request. |
| Map Sale fees | NA | $20 - $40 per map request (by size) |
| Qualified Scheduling Entity Application fee | 9.16.2 | $500 per Entity |
| Competitive Retailer Application fee | 9.16.2 | $500 per Entity |
| Congestion Revenue Right (CRR) Account Holder Application fee | 9.16.2 | $500 per Entity |
| Independent Market Information System Registered Entity fee (IMRE) | 9.16.2 | $500 per Entity |
| Voluminous Copy fee | NA | $0.15 per page in excess of 50 pages |