## Slide 1
Economic Project Evaluations: Methodology
Sandeep Borkar

## Slide 2: Agenda
Why we’re discussing this
NPV Basics
Discussion
Note of caution: This discussion is limited to selecting between multiple project alternatives that have met the economic planning criteria. This discussion is NOT about the criteria to used to determine if a project is economic.

## Slide 3: Protocol 3.11.2(4)
For economic projects, the net economic benefit of a proposed project, or set of projects, will be assessed over the project’s life based on the net societal benefit that is reasonably expected to accrue from the project. The project will be recommended if it is reasonably expected to result in positive net societal benefits.

## Slide 4: Reason For Discussion
An economic project evaluation methodology should:
  Take a societal point of view (consistent with PUCT rules and Protocols)
  Include all relevant costs and benefits associated with the project
Transmission assets expect to provide benefits to the system over the entire life of the asset (30 years – depreciated life and more)
Society incurs costs which go beyond the initial capital cost
Net Present Value (NPV) is commonly used for such applications

## Slide 5: Why Not to Consider Only Savings:Cost Ratio
Example: Comparison of two mutually exclusive projects
Project A:
Cost = $1
PC Savings = $1,000
Savings:Cost Ratio = 1,000
Net Benefit = $999
Project B:
Cost = $1,000,000
PC Savings = $20,000,000
Savings:Cost Ratio = 20
Net Benefit = $19,000,000
Net Benefit
$999
$19M

## Slide 6: NPV Basics
Net present value (NPV) is the difference between the present value of relevant cash inflows and outflows over a period of time.
NPV is used in capital budgeting to analyze the profitability of a projected investment or project.
Ct = net cash inflow during the period t
C0 = total initial investment costs
r = discount rate
t = number of time periods

## Slide 7: NPV Basics – Transmission Investment
None
Ct = net cash inflow during the period t
C0 = total initial investment costs
r = discount rate
t = number of time periods
Investment rate - inflation
30 years – assumed depreciated life

## Slide 8: Discussion
Application of the assumptions in the previous slide to transmission investment decisions (when deciding between multiple projects)
  Since the NPV is a product of set financial assumptions we can use a generic NPV multiplier applied to estimated project cost
What discount rate should be used to discount:
  Production cost savings?
    [Alternatively, don’t discount PC savings – calculate/ interpolate from LTSA]
  Annual carrying costs?

## Slide 9: Questions and Comments
Please send comments to Sandeep Borkar.
Sandeep.Borkar@ercot.com

## Slide 10: Appendix

## Slide 11: Annual Carrying Cost of a Transmission Project
Capital cost of the project (the price to a TO)
Return on Rate Base
  Cost of debt
  Cost of equity
Taxes
Incremental Operations and Maintenance expenses (O&M)
Item | Year 1
Return on Rate Base | $ 19,509
Depreciation | $ 8,798
Fixed O&M | $ -
Variable O&M | $ 2,601
Ad Valorem Tax | $ 2,621
Federal Income Tax | $ 1,112
Annual Revenue Req | $ 34,641
Capital Cost | $ 250,000
PV of Total Revenue Req | $ 554,410
PV of Total Revenue Req (ignoring taxes) | $ 440,324
For a sample TDSP

## Slide 12: Revenue requirement snapshot for first three years
Year (index) | 1 | 2 | 3
Year | 2022 | 2023 | 2024
Return on Rate Base | $ 19,509.40 | $ 18,987.86 | $ 18,333.11
Depreciation | 8797.50 | 8797.50 | 8797.50
Fixed O&M | 0.00 | 0.00 | 0.00
Var O&M | 2601.00 | 2653.02 | 2706.08
Property Taxes | 2621.35 | 2551.28 | 2463.30
FIT | 1112.21 | 787.99 | 982.12
Total Revenue Requirement | $ 34,641.46 | $ 33,777.65 | $ 33,282.11
Total Revenue Requirement (w/o Taxes) | $ 30,907.90 | $ 30,438.38 | $ 29,836.69
Sample capital cost of project : $250M
All $$ expressed in Thousands
SL depreciation over 30 years
FIT determined at 21% and 1% O&M is assumed