- Section 6 (Errata):

NPRR801 – Non-Controllable Load Resource MW in PRC

This Nodal Protocol Revision Request (NPRR) revises the Physical Responsive Capability (PRC) calculation from including the Responsive Reserve (RRS) MW responsibility from Load Resources controlled by high-set under frequency relays to include all MW from these Load Resources from their current output to their Low Power Consumption (LPC) capped at 150% of the Qualified Scheduling Entity’s (QSE’s) RRS responsibility from non-Controllable Load Resources.

Revised Subsection: 6.5.7.5 [Correction to language implemented in the January 1, 2017 Protocols]