- Section 2:

NOGRR178 – Clarification of Automatic Under-Frequency Load Shed Requirement

This Nodal Operating Guide Revision Request (NOGRR) clarifies language relating to automatic Load shedding by removing the historical exclusion of Load Resources equipped with high-set under-frequency relays from the expected system-wide 25% response in an under-frequency event by measuring compliance in an event using the Load at a frequency level of 59.3 Hz; clarifying Distribution Service Provider (DSP) and Transmission Operator (TO) responsibilities; identifying two separate compliance requirements; creating a new requirement for ERCOT to provide, upon TO request, an inventory of the registered Load Resources in the TO footprint; removing  unnecessary language regarding rounding up to a minimum threshold because a minimum threshold must be met or exceeded; and retiring a Summer 2001 five-year study reference to avoid any conflicts with current North American Reliability Corporation (NERC) Reliability Standard PRC-006-2, Automatic Underfrequency Load Shedding.

Revised Subsection:  2.6.1

- Section 3:

NOGRR182 – Transmission Operator (TO) Emergency Operations Plan Submittals

This Nodal Operating Guide Revision Request (NOGRR) harmonizes the Transmission Operator (TO) emergency operations plan submittals with the North American Electric Reliability Corporation (NERC) Reliability Standard EOP-011-1, Emergency Operations.

Revised Subsection:  3.7