## General S1
Commissioning Plan
Resource Name:
Site Code:
Resource Entity Name:
Resource QSE Name:
Submittal Date:
GINR Number:
Commissioning Plan Section 1: Resource Description
● | Tech Type (select from dropdown)
● | Total Number of Resources
● | MW Capacity (sum of HRL) (MW)
● | Total Number of Loads (excludes ESR)
| Maximum Demand of the Modeled Loads (excludes ESR) |  | P (MW) | Q (MVAr)
●
● | Total Number of Static Reactive Devices
● | Capacity of Capacitor Banks (MVAr)
● | Capacity of Reactor Banks (MVAr)
● | County Location (list all that apply, use Notes if needed)
● | Point of Interconnection Bus (POIB) Transmission Service Provider
● | POIB Station Code (Mnemonic)
● | POIB Nominal Voltage Level (kV)
● | POIB Segment Length (if applicable) (Miles)
● | Part 1 Notes:
Use this "Notes" area to describe your Reactive Devices or to describe your Combined-Cycle Configurations or to describe your type of Wind Turbines/Solar Panels.
● | Status of required integration engineering studies for (QSA Inclusion, Reactive Capability, Sub-synchronous Resonance, and others as required by TSP and/or ERCOT).

## Controls S2
Commissioning Plan
|  | Resource Name: | 0
Commissioning Plan Section 2: Resource Controls (Panel 1 of 2) |  |  |  | Commissioning Plan Section 2: Resource Controls (Panel 2 of 2)
● | Site Control System |  |  |  | ○ | Describe the functionality of the AVR controls at 0. Include limitations of the AVR from initial synchronization through final commercial operations.
| ○ | Describe the Site Control System at 0.
|  | All resources are required to complete this box. |  |  |  | Describe the timing of shunt device operation.
| ○ | Describe the availability of the Site Control System at 0. Include limitations of the system from initial synchronization through Part 3 approval. |  |  | ○ | Describe the operation of the OLTC at 0.
|  | All resources are required to complete this box. |  |  |  | Describe the timing of the tap changer operation. Include voltage range, initial response timing, and all subsequent tap changes.
● | Speed Control or Primary Frequency Response (PFR) |  |  | ● | Power System Stabilizers (PSS)
| ○ | Describe the PFR commissioning process at 0. |  |  | ○ | Describe the PSS commissioning process at 0.
|  | All resources must address both under-frequency and over-frequency capabilities. Include frequency droop and deadband settings. |  |  |  | IBRs are not required to complete this box.
● | Voltage Control from the Automatic Voltage Regulator (AVR) |  |  | ● | Part 2 Notes:
| ○ | Describe the AVR commissioning process at 0.
Include effective voltage droop and deadband settings for your AVR.

## Shut-down & Telemetry S3-S4
Commissioning Plan
|  | Resource Name: | 0
|  | Resource Entity Name: | 0
|  | Resource QSE Name: | 0
Commissioning Plan Section 3: Resource Shut-down Sequences
● | By completing and submitting to ERCOT this Commissioning Plan, 0 and 0 acknowledge the requirement in the ERCOT Operating Guides, Section 2.2.10(4) that requires on-line Generation Resources to commence their shutdown sequence within five minutes of receipt of a Dispatch Instruction from ERCOT.
If, during the commissioning of 0, ERCOT provides an urgent Dispatch Instruction to reduce generation or remove the generator(s) from synchronization with ERCOT Transmission Grid, 0 will accelerate the shutdown sequence and disconnection from the ERCOT Transmission Grid to comply with the time required in the Dispatch Instruction.
● | Shut-down Time Duration at 0
Time to Complete Orderly Shutdown (Minutes):
Time to Complete Emergency Shutdown (Minutes):
Commissioning Plan Section 4: Resource Telemetry Verification
● | Describe how 0 (QSE) and 0 (RE) will confirm telemetry quality (including validation, monitoring & troubleshooting) during the entire Commissioning Plan. Stage 2 in the Resource Interconnection Handbook has more telemetry information. (indicate primary and secondary communication paths)
Primary Telemetry Communication Path: Back-Up Telemetry Communication Path: Description:
● | Telemetry Contact Information - Phone and Email (2 preferred)

## Milestones S5
Commissioning Plan
| Resource Name: |  | 0
Notes
[7 empty] | ● | Replace the unit names with the actual Resource names from the Substation Details / RARF
Commissioning Plan Section 5: Resource Commissioning Milestones
[7 empty] | ● | Disclaimer: All dates stated in the Commissioning Plan are subject to ERCOT approvals of Protocol Section 16.5 requirements and approvals of Part 1, Part 2, & Part 3 Checklists
Commissioning Activity Dates (Planned) | Unit Code: | Unit Code: | Unit Code: | Unit Code: | Unit Code: | Unit Code:
Production Load Date | [6 empty] | ● | IBRs are not required to submit PSS dates
Site Telemetry Quality Verification With QSE Completed
ESIID Set Up in Settlements System
EPS/WSL Meter Communicating (DGR)
SSR Approval (if applicable)
Checklist Part 1 Submitted
Proposed Resource Energization
FRT Approval
16.5 Compliance Approval
Checklist Part 2 Submitted
Part 2 Telemetry Verification
Proposed Resource Synchronization
4 Quad ESR / 2 Quad DGR
IRR Curtailment Self Test
PFR in-service
AVR in-service
PSS in-service
Static Reactive Devices in-service
Email requesting to lift 20 MVA limit and that controls are operating in automatic mode and have the ability to follow base points when required
Proposed Part 2 > 20 MVA
PFR Testing for Part 3 Requirements
AVR Testing for Part 3 Requirements
PMU Testing for Part 3 Requirements
Reactive Capability Testing for Part 3 Requirements
All Part 3 Testing Approval
As-Built Model Approval
Weatherization Approval
VRT Approval
Checklist Part 3 Submitted
Proposed Resource Commission Date (Part 3)

## Schedule S6
Commissioning Plan
[10 empty] | Resource Name: |  |  |  |  | 0
Commissioning Plan Section 6: Resource Detailed Commissioning Schedule - Day by Day From Initial Synchronization to Synchronization of Last Unit
Date | Unit 1 Cumulative |  |  | Unit 2 Cumulative |  |  | Unit 3 Cumulative |  |  | Combined Cumulative |  |  | Controls on Automatic |  |  | Max Leading MVAr on Automatic | Max Lagging MVAr on Automatic | Max Reactor Bank MVAr available | Max Capacitor Bank MVAr available | Static Reactive Devices (Manual/ Automatic) | Max DSTATCOM/DVAR/SVC MVAr on Automatic | MVAr Range on Automatic Only | Power Factor Range
| Number of inverters/turbines | Resource MW | Resource MVA | Number of inverters/turbines | Resource MW | Resource MVA | Number of inverters/turbines | Resource MW | Resource MVA | Number of inverters/turbines | Resource MW | Resource MVA | [8 empty] | DVAR/SVC MVAr available on auto control
[13 empty] | PFR | AVR | VSS
2026-06-01 | 2 | 9.6 | 10.4 | - | - | - | - | - | - | 2 | 9.6 | 10.4 | N | N | N | 0 | 0 | 0 | 0 | Manual | 0 | 0 | 1
2026-06-02 | 3 | 14.4 | 15.6 | - | - | - | - | - | - | 3 | 14.4 | 15.6 | N | N | N | 0 | 0 | 0 | 0 | Manual | 0 | 0 | 1
2026-06-03 | 3 | 14.4 | 15.6 | 1 | 4.8 | 5.2 | - | - | - | 4 | 19.2 | 20.8 | Y | Y | Y | -6.4 | 6.4 | 0 | 10 | Automatic | 0 | -18.0 to +18.0 | -0.73 to +0.73
2026-06-04 | 10 | 48 | 52 | 10 | 48 | 52 | - | - | - | 20 | 96 | 104 | Y | Y | Y | -32 | 32 | 0 | 10 | Automatic | 0 | -50.0 to +50.0 | -0.89 to +0.89
2026-06-05 | 20 | 96 | 104 | 20 | 96 | 104 | 10 | 48 | 52 | 50 | 240 | 260 | Y | Y | Y | -80 | 80 | 0 | 10 | Automatic | 0 | -110.0 to +110.0 | -0.91 to +0.91
2026-06-06 | 20 | 96 | 104 | 20 | 96 | 104 | 20 | 96 | 104 | 60 | 288 | 312 | Y | Y | Y | -96 | 96 | 0 | 10 | Automatic | 0 | -130.0 to +130.0 | -0.91 to +0.91

## Capabilities S7
Commissioning Plan
| Resource Name: | 0
Commissioning Plan Section 7: Resource Design Capabilities
In accordance with Protocol Section 16.5(4), ERCOT reviews facility design capability. The current capabilities reviewed by ERCOT are listed in this section. ERCOT recommends that the Commissioning Plan provides confirmation of the following to help ERCOT evaluate the capabilities that will be available during the entire Commissioning Process.
Please confirm the following for the resource: 0
| The resource will produce ±0.95 Power Factor Reactive at all MW levels between LSL and HSL. Protocol Section 8.1.1.2.1.4 |  | Please Select
| The resource has a Power System Stabilizer or equivalent included in its design. Protocol Section 3.15.3(4) |  | Please Select
| The resource will provide Primary Frequency Response. Protocol Section 8.5.1.1 & 8.5.1.3 |  | Please Select
| The resource will operate with AVR in droop mode. Protocol Section 3.15 |  | Please Select
| The resource can respond to changes in the voltage profile using its AVR control mode. Protocol Section 3.15 |  | Please Select
| The breaker interruption capability at the resource is suitable for fault duty |  | Please Select
| Transient voltage ride through at the resource. Operating Guide Section 2.9.1 |  | Please Select
| The under-frequency relays installed at the resource meet the requirements in the ERCOT Operating Guides. Operating Guide Section 2.6.2 |  | Please Select
| Phasor Measurement recording equipment is installed. Operating Guide 6.1.3.2 |  | Please Select
Comments
Use this section for any comments

## Notes S8
Commissioning Plan
|  | Resource Name: | 0
Commissioning Plan Section 8: Process Notes and Descriptions
● | Process notes and descriptions for the commissioning of 0.

## Version Information
Version | Description of Changes | Date | Author
1 | Original Draft | 2014-12-10 | Lloyd Prichard
1.1 | Formatting Edits on S1 and S5 | 2015-01-05 | Lloyd Prichard
1.2 | Formatting Edits (blue) on all tabs; New Examples on S2, S4 & S6; Disclaimer on S5; Updated Instructions tab, New Version tab, RARF notes on S1 and S5, Prompt changes on S2 and S4. | 2015-06-10 | Lloyd Prichard
1.3 | Addition of 20 MVA milestone on "S5" tab | 2015-06-17 | Patrick Coon
1.4 | Clarification of 20 MVA limit and changing example to "blue" | 2018-07-27 | Jay Teixeira and Ed Geer
1.5 | Formatting edits on all tabs; S2 revision; S5 requirements added (ESIID, EPS meter communicating, 16.5 Compliance, FRT, VRT, PMU, weatherization, as-built model, 4Q/Curtailment test, SSR, Part 2 approval, email confirming automatic mode is enabled); replaced "RARF" with "RIOO Substation Details"; S6 horizontal layout, added columns (unit cumulative and combined cumulative); S7 FRT and VRT language added. | 2026-08-27 | Peter Qi, Ed Geer, Rick Montoya, Javin Leggett, Jenifer Fernandes, Riaz Khan

## Instructions
Instructions ● Please complete all 8 Parts to this commissioning plan before emailing it to your ERCOT Client Services Representative. Include the GINR number at the end of the filename before the extension and include the GINR number in the subject line of the email. Once your ERCOT Client Services Representative has received your completed plan, then an internal ERCOT meeting will be scheduled to review (and possibly approve) your plan. ● Information provided in blue are examples or instructions that should be replaced and formatted in black. ● Section 1: To complete most fields in Part 1, please use information directly from RIOO Substation Details. RE should include "(RE)" at the end of the name. QSE should include "(QSE)" at the end of the name. ● Section 2: There are 2 panels/pages to complete on this tab. ● Section 3: The maximum time allowed for completion of an orderly shut-down is 10 minutes. The maximum time allowed for completion of an emergency shut down is 5 minutes. ● Section 4: None as of this draft. ● Section 5: Replace the unit names with the actual Resource names from Substation Details / RARF. ● Section 6: There are 3 panels/pages to complete (if necessary) on this tab. The "Event Day or Date" column could be used to number the event days (Example: 1 through 10). This could be used in case of delays during the plan to reference approximately how many days are left to complete the plan. ● Section 7: None as of this draft. ● Section 8: None as of this draft. ● Note: Many things on this form will be locked. If you need more room or choices on this form please consult with your ERCOT Client Services Representative.
Resource Fuel Categories
Biomass
Coal and Lignite
Combined Cycle
Diesel
Energy Storage Resource
Gas Steam
Hydro
Nuclear
Simple Cycle
Solar
Wind
Other