## Slide 1
2019 Long-Term Load Forecast
Sarah Moore
Calvin Opheim
Load Forecasting & Analysis
SAWG
December 12, 2018

## Slide 2: Agenda
Load Forecasting Framework
Growth Driver
Normal Weather (P50) Forecast
ERCOT P50 Forecast

## Slide 3: Agenda
Assumptions and Challenges
Active Models
Weather Zone P50 and P90 Forecasts
Questions

## Slide 4
Load Forecasting Framework

## Slide 5: Weather Zones
2 or 3 Weather Stations in each Weather Zone

## Slide 6: Load Models
Unique Model for
  Each Weather Zone
    Each Temperature Group
      Hot
      Medium
      Cold

## Slide 7: Load Models
Unique Model for
  Each Weather Zone
    Each Temperature Group
      Hot
      Medium
      Cold
Temperature
South Load vs. Temperature
MW

## Slide 8: Temperature Groups
MW
MW
Temperature
South March
South Hot
South Medium Cold
Temperature

## Slide 9: Months vs. Temperature Groups
MW
Temperature
South March

## Slide 10: Months vs. Temperature Groups
MW
Temperature
South March
Temperature
MW
South Hot

## Slide 11: Input Data
Hourly Models
From January 2013 through August 2018
  Recent Snapshot
    Appliance Stock
    Energy Efficiency
    Demand Response
    Price Responsive Load

## Slide 12: Input Data
Weather
Calendar
Actual Load

## Slide 13: Input Data
Weather
  Temperature, Temperature Squared, and Temperature Cubed
  Cooling Degree Days and Heating Degree Days
  Cloud Cover
  Wind Speed
  Dew Point

## Slide 14: Input Data
Calendar
  Month
  Day of the Week
  Holidays
  Hour
  Interact Hour with Day of the Week

## Slide 15: Input Data
Variable Interactions
  Interact a Weather Variable with a Calendar Variable
    Temperature with Hour
    Dew Point with Hour
  Interact multiple Weather Variables with a Calendar Variable
    Temperature with Dew Point and Hour

## Slide 16
Growth Driver

## Slide 17: Premise Forecast
Unique Model for
  Each Weather Zone
    Each Premise Class
      Residential
      Commercial
      Industrial
Monthly Models

## Slide 18: Input Data
From January 2013 through August 2018
Economic Measures
  Population
  Non-Farm Employment
  Housing Stock
  Error Correction Term

## Slide 19: Challenges
Chart: Far West Historical Premise Counts
Premise Counts increased significantly via opt-in

## Slide 20: Challenges
Chart: West Historical Premise Counts
Premise Counts increased significantly via opt-in

## Slide 21: Growth Driver for Far West and West
Economic Measures from Moody’s Base Scenario
  Population
  Non-Farm Employment
  Housing Stock

## Slide 22
Normal Weather (P50) Forecast

## Slide 23: Normal Weather (P50) Forecast
Coast 2019 Summer Forecasts
Year | Month | Day | Hour | Rank | Forecast based on 2003’s Weather
2019 | 8 | 18 | 17 | 1 | 21,257
2019 | 8 | 17 | 16 | 2 | 21,211
2019 | 8 | 18 | 18 | 3 | 21,191
2019 | 8 | 16 | 16 | 4 | 21,059
2019 | 8 | 18 | 16 | 5 | 20,923
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | P50
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 21,144
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 20,935
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 20,831
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 20,783
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 20,710

## Slide 24: Normal Weather (P50) Forecast
Coast 2019 Summer Forecasts
Year | Month | Day | Hour | Rank | Forecast based on 2003’s Weather
2019 | 8 | 18 | 17 | 1 | 21,257
2019 | 8 | 17 | 16 | 2 | 21,211
2019 | 8 | 18 | 18 | 3 | 21,191
2019 | 8 | 16 | 16 | 4 | 21,059
2019 | 8 | 18 | 16 | 5 | 20,923
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | P50
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 21,144
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 20,935
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 20,831
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 20,783
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 20,710
Sort from high to low

## Slide 25: Normal Weather (P50) Forecast
Coast 2019 Summer Forecasts
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | P50
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 21,144
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 20,935
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 20,831
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 20,783
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 20,710
Year | Month | Day | Hour | Rank | Forecast based on 2003’s Weather
2019 | 8 | 18 | 17 | 1 | 21,257
2019 | 8 | 17 | 16 | 2 | 21,211
2019 | 8 | 18 | 18 | 3 | 21,191
2019 | 8 | 16 | 16 | 4 | 21,059
2019 | 8 | 18 | 16 | 5 | 20,923

## Slide 26: Normal Weather (P50) Forecast
Coast 2019 Summer Forecasts
Year | Month | Day | Hour | Rank | Forecast based on 2003’s Weather
2019 | 8 | 18 | 17 | 1 | 21,257
2019 | 8 | 17 | 16 | 2 | 21,211
2019 | 8 | 18 | 18 | 3 | 21,191
2019 | 8 | 16 | 16 | 4 | 21,059
2019 | 8 | 18 | 16 | 5 | 20,923
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | P50
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 21,144
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 20,935
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 20,831
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 20,783
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 20,710

## Slide 27: Normal Weather (P50) Forecast
Coast 2019 Summer Forecasts
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 

## Slide 28: Normal Weather (P50) Forecast
Chart: Coast 2019 Summer Peak Forecasts
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
 | 21257.1431 | 20993.8303 | 20757.27 | 20752.4363 | 21015.3634 | 20748.3896 | 21295.1699 | 21047.1063 | 21857.0236 | 21798.6527 | 21131.9537 | 20841.8176 | 21581.7853 | 21348.7108 | 20738.0272

## Slide 29: Normal Weather (P50) Forecast
Coast 2019 Summer Forecasts
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 

## Slide 30: Normal Weather (P50) Forecast
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | P50
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 21,144
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 20,935
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 20,831
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 20,783
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 20,710
Coast 2019 Summer Forecasts

## Slide 31: Normal Weather (P50) Forecast
Coast 2019 Summer Forecasts
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | P50
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 21,144
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 20,935
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 20,831
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 20,783
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 20,710

## Slide 32: Normal Weather (P50) Forecast
Chart: Coast 2019 Summer Peak Forecasts
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | Highest | Lowest | P50
 | 21257.1431 | 20993.8303 | 20757.27 | 20752.4363 | 21015.3634 | 20748.3896 | 21295.1699 | 21047.1063 | 21857.0236 | 21798.6527 | 21131.9537 | 20841.8176 | 21581.7853 | 21348.7108 | 20738.0272 | 21857.0236 | 20738.0272 | 21144.312

## Slide 33: Normal Weather (P50) Forecast
For every weather zone
For every forecasted year (2019-2028)

## Slide 34: Normal Weather (P50) Forecast
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | P50
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 21,144
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 20,935
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 20,831
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 20,783
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 20,710
Forecasted values are
  Ranked from high to low
  Averaged by Rank
Coast 2019 Summer Forecasts

## Slide 35
ERCOT P50 Forecast

## Slide 36: ERCOT P50 Forecast
Historical Year | Month | Day | Hour | Rank | Actual Load
2007 | 8 | 13 | 16 | 1 | 18,227
2007 | 8 | 13 | 17 | 2 | 18,032
2007 | 8 | 13 | 15 | 3 | 17,991
2007 | 8 | 14 | 16 | 4 | 17,990
2007 | 8 | 14 | 17 | 5 | 17,923
Coast 2007 Summer Actual Load

## Slide 37: ERCOT P50 Forecast
Historical Year | Month | Day | Hour | Rank | Actual Load
2007 | 8 | 13 | 16 | 1 | 18,227
2007 | 8 | 13 | 17 | 2 | 18,032
2007 | 8 | 13 | 15 | 3 | 17,991
2007 | 8 | 14 | 16 | 4 | 17,990
2007 | 8 | 14 | 17 | 5 | 17,923
Sort from high to low
Coast 2007 Summer Actual Load

## Slide 38: ERCOT P50 Forecast
Coast 2007 Summer Actual Load Ranks
Historical Year | Month | Day | Hour | Rank
2007 | 8 | 13 | 16 | 1
2007 | 8 | 13 | 17 | 2
2007 | 8 | 13 | 15 | 3
2007 | 8 | 14 | 16 | 4
2007 | 8 | 14 | 17 | 5

## Slide 39: ERCOT P50 Forecast
Coast 2007 Summer Actual Load Ranks
and Coast 2019 Forecast
Historical Year | Month | Day | Hour | Rank | P50 Forecast | Forecast Year
2007 | 8 | 13 | 16 | 1 | 21,144 | 2019
2007 | 8 | 13 | 17 | 2 | 20,935 | 2019
2007 | 8 | 13 | 15 | 3 | 20,831 | 2019
2007 | 8 | 14 | 16 | 4 | 20,783 | 2019
2007 | 8 | 14 | 17 | 5 | 20,710 | 2019

## Slide 40: ERCOT P50 Forecast
Historical Year | Month | Day | Hour | Rank | P50 Forecast | Forecast Year
2007 | 8 | 13 | 16 | 1 | 21,144 | 2019
2007 | 8 | 13 | 17 | 2 | 20,935 | 2019
2007 | 8 | 13 | 15 | 3 | 20,831 | 2019
2007 | 8 | 14 | 16 | 4 | 20,783 | 2019
2007 | 8 | 14 | 17 | 5 | 20,710 | 2019
Forecast Year | Month | Day | Hour | COAST | EAST | FWEST | NCENT | NORTH | SCENT | SOUTH | WEST | ERCOT
2019 | 8 | 13 | 15 | 20,831 | 2,520 | 3,934 | 25,087 | 1,430 | 12,358 | 6,090 | 1,953 | 74,202
2019 | 8 | 13 | 16 | 21,144 | 2,515 | 3,975 | 25,257 | 1,435 | 12,488 | 6,043 | 1,995 | 74,853
2019 | 8 | 13 | 17 | 20,935 | 2,493 | 3,982 | 25,155 | 1,457 | 12,677 | 5,988 | 2,038 | 74,726
2019 | 8 | 13 | 18 | 20,659 | 2,490 | 3,928 | 24,865 | 1,438 | 12,397 | 5,797 | 2,005 | 73,579
2019 | 8 | 13 | 19 | 20,312 | 2,471 | 3,930 | 24,517 | 1,433 | 12,314 | 5,633 | 1,977 | 72,587
ERCOT P50 Coincident Forecast for 2019

## Slide 41: ERCOT P50 Forecast
Historical Year | Month | Day | Hour | Rank | P50 Forecast | Forecast Year
2007 | 8 | 13 | 16 | 1 | 21,144 | 2019
2007 | 8 | 13 | 17 | 2 | 20,935 | 2019
2007 | 8 | 13 | 15 | 3 | 20,831 | 2019
2007 | 8 | 14 | 16 | 4 | 20,783 | 2019
2007 | 8 | 14 | 17 | 5 | 20,710 | 2019
Forecast Year | Month | Day | Hour | COAST | EAST | FWEST | NCENT | NORTH | SCENT | SOUTH | WEST | ERCOT
2019 | 8 | 13 | 15 | 20,831 | 2,520 | 3,934 | 25,087 | 1,430 | 12,358 | 6,090 | 1,953 | 74,202
2019 | 8 | 13 | 16 | 21,144 | 2,515 | 3,975 | 25,257 | 1,435 | 12,488 | 6,043 | 1,995 | 74,853
2019 | 8 | 13 | 17 | 20,935 | 2,493 | 3,982 | 25,155 | 1,457 | 12,677 | 5,988 | 2,038 | 74,726
2019 | 8 | 13 | 18 | 20,659 | 2,490 | 3,928 | 24,865 | 1,438 | 12,397 | 5,797 | 2,005 | 73,579
2019 | 8 | 13 | 19 | 20,312 | 2,471 | 3,930 | 24,517 | 1,433 | 12,314 | 5,633 | 1,977 | 72,587
ERCOT P50 Coincident Forecast for 2019

## Slide 42: ERCOT P50 Forecast
P50 Forecasts for each Weather Zone are mapped into a Historical Calendar by Rank
2007 Historical Calendar was selected
  Evaluated 2007 through 2017
  2007 had the least amount of diversity between Weather Zone peaks and ERCOT peak

## Slide 43: ERCOT P50 Coincident Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2007 Coincident Factors | 74853.2073 | 76845.4656 | 78823.7416 | 80454.5979 | 82101.3718 | 83716.46 | 85327.0628 | 86940.3083 | 88507.6439 | 90020.6994
Average Coincident Factors | 74262.4419 | 76238.2312 | 78220.3547 | 79852.044 | 81499.7293 | 83115.8145 | 84727.0546 | 86340.8676 | 87908.3199 | 89421.8218
Minimum Coincident Factors | 72899.7768 | 74877.2303 | 76853.0187 | 78485.1533 | 80133.4357 | 81750.0915 | 83361.3479 | 84975.3582 | 86543.3403 | 88057.2954

## Slide 44: ERCOT P50 Coincident Peak Forecast
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 56068.0162 | 60029.6626 | 58483.7006 | 60212.6796 | 62202.8028 | 62114.7508 | 62102.9637 | 63407.1899 | 65713.4485 | 68317.6698 | 66557.7818 | 67252.9949 | 66464.0643 | 69620.4076 | 71092.6092 | 69496.2398 | 73308.1534
Forecast | 74853.2073 | 76845.4656 | 78823.7416 | 80454.5979 | 82101.3718 | 83716.46 | 85327.0628 | 86940.3083 | 88507.6439 | 90020.6994

## Slide 45: ERCOT P50 Coincident Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 74639 | 75879 | 77125 | 78556 | 79959 | 81200 | 82376 | 83704 | 85035.2776 | 86372.8046
2019 LTLF | 74853 | 76845 | 78824 | 80455 | 82101 | 83716 | 85327 | 86940 | 88508 | 90020.6994

## Slide 46: Coast P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 21515.6388 | 21853.4318 | 22174.5343 | 22546.2578 | 22912.1974 | 23237.7293 | 23545.7066 | 23882.6925 | 24220.5631 | 24562.7571
2019 LTLF | 21144.312 | 22084.9953 | 22584.8722 | 23089.2222 | 23597.1898 | 24098.6107 | 24597.5769 | 25094.7319 | 25576.8358 | 26041.8831

## Slide 47: East P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 2542.2104 | 2560.6036 | 2579.182 | 2601.3231 | 2622.7121 | 2640.353 | 2656.7463 | 2675.3243 | 2694.0665 | 2713.1457
2019 LTLF | 2583.3541 | 2605.4906 | 2627.2996 | 2656.7706 | 2681.4289 | 2705.9982 | 2729.3485 | 2751.9179 | 2774.4113 | 2797.0594

## Slide 48: Far West P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 3574.0166 | 3872.89 | 4179.6029 | 4520.6452 | 4863.0696 | 5173.1765 | 5463.719 | 5812.3292 | 6165.038 | 6514.2111
2019 LTLF | 4147.7351 | 4441.9583 | 4718.5 | 4996.9926 | 5275.2056 | 5546.0817 | 5817.7483 | 6093.9697 | 6364.6107 | 6627.7998

## Slide 49: North P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 1485.6448 | 1489.1247 | 1492.5899 | 1497.0297 | 1501.2601 | 1504.5276 | 1507.5397 | 1511.1066 | 1514.6895 | 1518.3418
2019 LTLF | 1488.907 | 1495.8035 | 1914.7682 | 1922.2792 | 1929.9148 | 1937.3636 | 1944.7129 | 1951.9765 | 1958.9829 | 1965.6889

## Slide 50: South Central P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 12658.3572 | 12798.9429 | 12944.1266 | 13114.1655 | 13281.2637 | 13429.3156 | 13570.5064 | 13726.3809 | 13882.9235 | 14041.1164
2019 LTLF | 12676.8529 | 12899.5125 | 13134.9362 | 13384.5573 | 13636.9906 | 13882.8458 | 14125.2175 | 14366.8989 | 14602.2775 | 14829.608

## Slide 51: South P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 6071.4204 | 6213.5442 | 6358.9138 | 6530.6161 | 6698.0002 | 6843.7379 | 6981.4979 | 7134.813 | 7288.2439 | 7442.7653
2019 LTLF | 6090.1971 | 6260.1376 | 6437.6276 | 6624.6645 | 6820.6348 | 7013.76 | 7207.988 | 7403.8736 | 7592.8571 | 7773.0996

## Slide 52: West P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 1943.9053 | 1971.2146 | 1999.389 | 2029.334 | 2059.4912 | 2087.9095 | 2114.8395 | 2147.1699 | 2179.7101 | 2211.7101
2019 LTLF | 2066.8674 | 2121.8146 | 2179.812 | 2242.1295 | 2306.0728 | 2367.8111 | 2428.8507 | 2488.651 | 2545.8662 | 2601.1886

## Slide 53: North Central P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 25908.7138 | 26167.5527 | 26434.2949 | 26742.1597 | 27038.682 | 27296.4268 | 27539.7678 | 27809.2532 | 28078.6585 | 28351.1615
2019 LTLF | 25764.4668 | 26049.9898 | 26348.5456 | 26661.2889 | 26978.9924 | 27291.1004 | 27603.2997 | 27917.1607 | 28222.4987 | 28516.7715

## Slide 54: ERCOT P50 Coincident Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 74639 | 75879 | 77125 | 78556 | 79959 | 81200 | 82376 | 83704 | 85035.2776 | 86372.8046
2019 LTLF | 74853 | 76845 | 78824 | 80455 | 82101 | 83716 | 85327 | 86940 | 88508 | 90020.6994

## Slide 55: ERCOT Annual Energy
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 383007.8866 | 392609.2735 | 400953.5416 | 410529.5274 | 420149.2734 | 429066.783 | 437017.6067 | 446011.6063 | 455188.3089 | 464577.8
2019 LTLF | 384486.259 | 401152.7199 | 413106.652 | 425665.1605 | 437595.1404 | 450426.0137 | 461024.6192 | 472723.596 | 484130.5215 | 496340.52

## Slide 56: ERCOT Annual Energy
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 279880.5312 | 284375.2214 | 288387.3917 | 298454.3809 | 304979.6733 | 306592.3592 | 310856.8551 | 307388.6171 | 318292.4722 | 333992.2576 | 325010.9182 | 331740.3591 | 340140.816 | 347496.4293 | 351401.9659 | 357260.0082 | 375500.0001
Forecast | 384486.259 | 401152.7199 | 413106.652 | 425665.1605 | 437595.1404 | 450426.0137 | 461024.6192 | 472723.596 | 484130.5215 | 496340.52
December estimated

## Slide 57
Assumptions and Challenges

## Slide 58: Assumptions
Inherent Levels from the Input Data of
  Appliance Stock and Energy Efficiency
  Demand Response
  4 CP Impact
  Behind-the-Meter DG
  Price Responsive Load
  Electric Vehicles

## Slide 59: Challenges
Weather Volatility
Economic Uncertainty
Policy Impacts

## Slide 60: Load Forecast Adjustments
Lubbock added to North Forecast from 2021 on
  Based on Lubbock’s Peak Forecast of its growth
“Fiber Services in Lubbock, TX.” About NTS, NTS Communications, Inc., 2018, www.ntscom.com/aboutnts/primary-locations/lubbock-tx.

## Slide 61: Load Forecast Adjustments
Adjustments added for Large Industrial Facilities
  Coast
    200 – 650 MW
    Phased in over time
  Far West
    200 MW

## Slide 62
Active Models

## Slide 63: Ensemble of Active Models
Neural Network models based on linear and higher order nodes
Neural Network models based on a single linear node
Linear Regression representation of the Neural Network models
  Exact same variables and relationships
  Easier to share the model form with Market Participants
  Results are very close
Models are maintained for daily and hourly energy forecasting

## Slide 64
Weather Zone P50 and P90 Forecasts

## Slide 65: 90th Percentile (P90) Forecast
Coast 2019 Summer Forecasts
65
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | P50
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 21,144
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 20,935
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 20,831
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 20,783
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 20,710

## Slide 66: 90th Percentile (P90) Forecast
Rank | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | P50 | P90
1 | 21,257 | 20,994 | 20,757 | 20,752 | 21,015 | 20,748 | 21,295 | 21,047 | 21,857 | 21,799 | 21,132 | 20,842 | 21,582 | 21,349 | 20,738 | 21,144 | 21,822
2 | 21,211 | 20,840 | 20,099 | 20,542 | 20,981 | 20,368 | 21,162 | 20,950 | 21,830 | 20,910 | 20,979 | 20,839 | 21,558 | 21,064 | 20,689 | 20,935 | 21,667
3 | 21,191 | 20,763 | 20,095 | 20,422 | 20,769 | 20,330 | 20,938 | 20,851 | 21,631 | 20,904 | 20,926 | 20,746 | 21,353 | 20,998 | 20,542 | 20,831 | 21,464
4 | 21,059 | 20,740 | 20,088 | 20,294 | 20,726 | 20,305 | 20,934 | 20,814 | 21,617 | 20,825 | 20,926 | 20,718 | 21,249 | 20,977 | 20,470 | 20,783 | 21,396
5 | 20,923 | 20,446 | 19,976 | 20,221 | 20,708 | 20,144 | 20,844 | 20,797 | 21,568 | 20,804 | 20,897 | 20,677 | 21,211 | 20,968 | 20,462 | 20,710 | 21,354
Coast 2019 Summer Forecasts
66

## Slide 67: Coast P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 18770.1669 | 18578.0722 | 19928.7248 | 19826.1816 | 20100.7586 | 20269.849
P50 | 21144.312 | 22084.9953 | 22584.8722 | 23089.2222 | 23597.1898 | 24098.6107 | 24597.5769 | 25094.7319 | 25576.8358 | 26041.8831
P90 | 21822.0011 | 22848.058 | 23346.8775 | 23851.2108 | 24359.2299 | 24860.8792 | 25359.7969 | 25857.1937 | 26339.9513 | 26805.4762

## Slide 68: East P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 2379.3416 | 2324.9016 | 2463.9556 | 2493.8287 | 2415.8767 | 2565.6631
P50 | 2583.3541 | 2605.4906 | 2627.2996 | 2656.7706 | 2681.4289 | 2705.9982 | 2729.3485 | 2751.9179 | 2774.4113 | 2797.0594
P90 | 2698.0726 | 2720.153 | 2742.0434 | 2771.5215 | 2796.1418 | 2820.7106 | 2844.0457 | 2866.6124 | 2889.1029 | 2911.7618

## Slide 69: Far West P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 2278.6712 | 2688.0037 | 2811.8407 | 2908.9704 | 3164.1864 | 3655.0145
P50 | 4147.7351 | 4441.9583 | 4718.5 | 4996.9926 | 5275.2056 | 5546.0817 | 5817.7483 | 6093.9697 | 6364.6107 | 6627.7998
P90 | 4222.3176 | 4512.9889 | 4789.6841 | 5068.3124 | 5346.1582 | 5616.7078 | 5888.7715 | 6164.9897 | 6435.0246 | 6697.8463

## Slide 70: North P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 1483.4728 | 1407.7908 | 1451.5364 | 1440.1835 | 1393.5089 | 1521.8453
P50 | 1488.907 | 1495.8035 | 1914.7682 | 1922.2792 | 1929.9148 | 1937.3636 | 1944.7129 | 1951.9765 | 1958.9829 | 1965.6889
P90 | 1588.3087 | 1595.202 | 2015.7593 | 2023.2786 | 2030.9111 | 2038.3548 | 2045.7026 | 2052.9613 | 2059.958 | 2066.6569

## Slide 71: North Central P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 24420.6897 | 23445.6124 | 24580.6459 | 25282.3165 | 24313.2101 | 26499.241
P50 | 25764.4668 | 26049.9898 | 26348.5456 | 26661.2889 | 26978.9924 | 27291.1004 | 27603.2997 | 27917.1607 | 28222.4987 | 28516.7715
P90 | 26983.4852 | 27269.2308 | 27568.0396 | 27880.9844 | 28198.6332 | 28510.6729 | 28822.9353 | 29136.749 | 29441.8726 | 29736.0076

## Slide 72: South P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 5206.7333 | 5352.2159 | 5455.4528 | 5786.8259 | 5845.2837 | 5791.2531
P50 | 6090.1971 | 6260.1376 | 6437.6276 | 6624.6645 | 6820.6348 | 7013.76 | 7207.988 | 7403.8736 | 7592.8571 | 7773.0996
P90 | 6231.8402 | 6401.4544 | 6579.0596 | 6766.1467 | 6962.1482 | 7155.25 | 7349.4978 | 7545.3815 | 7734.3127 | 7914.5092

## Slide 73: South Central P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 11432.8102 | 11452.2257 | 12032.5532 | 12344.8416 | 11970.2041 | 12886.8971
P50 | 12676.8529 | 12899.5125 | 13134.9362 | 13384.5573 | 13636.9906 | 13882.8458 | 14125.2174 | 14366.8989 | 14602.2775 | 14829.608
P90 | 13333.8075 | 13557.4613 | 13793.8905 | 14044.1645 | 14296.2677 | 14541.7277 | 14784.0862 | 15025.5555 | 15260.3105 | 15487.2666

## Slide 74: West P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 1862.3039 | 1852.9276 | 1883.889 | 1899.0862 | 1901.9406 | 2083.5791
P50 | 2066.8674 | 2121.8146 | 2179.812 | 2242.1295 | 2306.0728 | 2367.8111 | 2428.8507 | 2488.651 | 2545.8662 | 2601.1886
P90 | 2179.3585 | 2234.3538 | 2292.4704 | 2354.8959 | 2418.8083 | 2480.4985 | 2541.5268 | 2601.2683 | 2658.4093 | 2713.6942

## Slide 75: Questions?

## Slide 76: Slide 28 Normal Weather (P50) Forecast
Chart: Coast 2019 Summer Peak Forecasts
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
 | 21257.1431 | 20993.8303 | 20757.27 | 20752.4363 | 21015.3634 | 20748.3896 | 21295.1699 | 21047.1063 | 21857.0236 | 21798.6527 | 21131.9537 | 20841.8176 | 21581.7853 | 21348.7108 | 20738.0272

## Slide 77: Slide 32 Normal Weather (P50) Forecast
Chart: Coast 2019 Summer Peak Forecasts
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | Highest | Lowest | P50
 | 21257.1431 | 20993.8303 | 20757.27 | 20752.4363 | 21015.3634 | 20748.3896 | 21295.1699 | 21047.1063 | 21857.0236 | 21798.6527 | 21131.9537 | 20841.8176 | 21581.7853 | 21348.7108 | 20738.0272 | 21857.0236 | 20738.0272 | 21144.312

## Slide 78: Slide 43 ERCOT P50 Coincident Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2007 Coincident Factors | 74853.2073 | 76845.4656 | 78823.7416 | 80454.5979 | 82101.3718 | 83716.46 | 85327.0628 | 86940.3083 | 88507.6439 | 90020.6994
Average Coincident Factors | 74262.4419 | 76238.2312 | 78220.3547 | 79852.044 | 81499.7293 | 83115.8145 | 84727.0546 | 86340.8676 | 87908.3199 | 89421.8218
Minimum Coincident Factors | 72899.7768 | 74877.2303 | 76853.0187 | 78485.1533 | 80133.4357 | 81750.0915 | 83361.3479 | 84975.3582 | 86543.3403 | 88057.2954

## Slide 79: Slide 44 ERCOT P50 Coincident Peak Forecast
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 56068.0162 | 60029.6626 | 58483.7006 | 60212.6796 | 62202.8028 | 62114.7508 | 62102.9637 | 63407.1899 | 65713.4485 | 68317.6698 | 66557.7818 | 67252.9949 | 66464.0643 | 69620.4076 | 71092.6092 | 69496.2398 | 73308.1534
Forecast | 74853.2073 | 76845.4656 | 78823.7416 | 80454.5979 | 82101.3718 | 83716.46 | 85327.0628 | 86940.3083 | 88507.6439 | 90020.6994

## Slide 80: Slides 45 and 54 ERCOT P50 Coincident Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 74639 | 75879 | 77125 | 78556 | 79959 | 81200 | 82376 | 83704 | 85035.2776 | 86372.8046
2019 LTLF | 74853 | 76845 | 78824 | 80455 | 82101 | 83716 | 85327 | 86940 | 88508 | 90020.6994

## Slide 81: Slide 46 Coast P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 21515.6388 | 21853.4318 | 22174.5343 | 22546.2578 | 22912.1974 | 23237.7293 | 23545.7066 | 23882.6925 | 24220.5631 | 24562.7571
2019 LTLF | 21144.312 | 22084.9953 | 22584.8722 | 23089.2222 | 23597.1898 | 24098.6107 | 24597.5769 | 25094.7319 | 25576.8358 | 26041.8831

## Slide 82: Slide 47 East P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 2542.2104 | 2560.6036 | 2579.182 | 2601.3231 | 2622.7121 | 2640.353 | 2656.7463 | 2675.3243 | 2694.0665 | 2713.1457
2019 LTLF | 2583.3541 | 2605.4906 | 2627.2996 | 2656.7706 | 2681.4289 | 2705.9982 | 2729.3485 | 2751.9179 | 2774.4113 | 2797.0594

## Slide 83: Slide 48 Far West P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 3574.0166 | 3872.89 | 4179.6029 | 4520.6452 | 4863.0696 | 5173.1765 | 5463.719 | 5812.3292 | 6165.038 | 6514.2111
2019 LTLF | 4147.7351 | 4441.9583 | 4718.5 | 4996.9926 | 5275.2056 | 5546.0817 | 5817.7483 | 6093.9697 | 6364.6107 | 6627.7998

## Slide 84: Slide 49 North P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 1485.6448 | 1489.1247 | 1492.5899 | 1497.0297 | 1501.2601 | 1504.5276 | 1507.5397 | 1511.1066 | 1514.6895 | 1518.3418
2019 LTLF | 1488.907 | 1495.8035 | 1914.7682 | 1922.2792 | 1929.9148 | 1937.3636 | 1944.7129 | 1951.9765 | 1958.9829 | 1965.6889

## Slide 85: Slide 50 South Central P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 12658.3572 | 12798.9429 | 12944.1266 | 13114.1655 | 13281.2637 | 13429.3156 | 13570.5064 | 13726.3809 | 13882.9235 | 14041.1164
2019 LTLF | 12676.8529 | 12899.5125 | 13134.9362 | 13384.5573 | 13636.9906 | 13882.8458 | 14125.2175 | 14366.8989 | 14602.2775 | 14829.608

## Slide 86: Slide 51 South P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 6071.4204 | 6213.5442 | 6358.9138 | 6530.6161 | 6698.0002 | 6843.7379 | 6981.4979 | 7134.813 | 7288.2439 | 7442.7653
2019 LTLF | 6090.1971 | 6260.1376 | 6437.6276 | 6624.6645 | 6820.6348 | 7013.76 | 7207.988 | 7403.8736 | 7592.8571 | 7773.0996

## Slide 87: Slide 52 West P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 1943.9053 | 1971.2146 | 1999.389 | 2029.334 | 2059.4912 | 2087.9095 | 2114.8395 | 2147.1699 | 2179.7101 | 2211.7101
2019 LTLF | 2066.8674 | 2121.8146 | 2179.812 | 2242.1295 | 2306.0728 | 2367.8111 | 2428.8507 | 2488.651 | 2545.8662 | 2601.1886

## Slide 88: Slide 53 North Central P50 Peak Forecast
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 25908.7138 | 26167.5527 | 26434.2949 | 26742.1597 | 27038.682 | 27296.4268 | 27539.7678 | 27809.2532 | 28078.6585 | 28351.1615
2019 LTLF | 25764.4668 | 26049.9898 | 26348.5456 | 26661.2889 | 26978.9924 | 27291.1004 | 27603.2997 | 27917.1607 | 28222.4987 | 28516.7715

## Slide 89: Slide 55 ERCOT Annual Energy
Chart: Year
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
2018 LTLF | 383007.8866 | 392609.2735 | 400953.5416 | 410529.5274 | 420149.2734 | 429066.783 | 437017.6067 | 446011.6063 | 455188.3089 | 464577.8
2019 LTLF | 384486.259 | 401152.7199 | 413106.652 | 425665.1605 | 437595.1404 | 450426.0137 | 461024.6192 | 472723.596 | 484130.5215 | 496340.52

## Slide 90: Slide 56 ERCOT Annual Energy
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 279880.5312 | 284375.2214 | 288387.3917 | 298454.3809 | 304979.6733 | 306592.3592 | 310856.8551 | 307388.6171 | 318292.4722 | 333992.2576 | 325010.9182 | 331740.3591 | 340140.816 | 347496.4293 | 351401.9659 | 357260.0082 | 375500.0001
Forecast | 384486.259 | 401152.7199 | 413106.652 | 425665.1605 | 437595.1404 | 450426.0137 | 461024.6192 | 472723.596 | 484130.5215 | 496340.52
December estimated

## Slide 91: Slide 67 Coast P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 18770.1669 | 18578.0722 | 19928.7248 | 19826.1816 | 20100.7586 | 20269.849
P50 | 21144.312 | 22084.9953 | 22584.8722 | 23089.2222 | 23597.1898 | 24098.6107 | 24597.5769 | 25094.7319 | 25576.8358 | 26041.8831
P90 | 21822.0011 | 22848.058 | 23346.8775 | 23851.2108 | 24359.2299 | 24860.8792 | 25359.7969 | 25857.1937 | 26339.9513 | 26805.4762

## Slide 92: Slide 68 East P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 2379.3416 | 2324.9016 | 2463.9556 | 2493.8287 | 2415.8767 | 2565.6631
P50 | 2583.3541 | 2605.4906 | 2627.2996 | 2656.7706 | 2681.4289 | 2705.9982 | 2729.3485 | 2751.9179 | 2774.4113 | 2797.0594
P90 | 2698.0726 | 2720.153 | 2742.0434 | 2771.5215 | 2796.1418 | 2820.7106 | 2844.0457 | 2866.6124 | 2889.1029 | 2911.7618

## Slide 93: Slide 69 Far West P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 2278.6712 | 2688.0037 | 2811.8407 | 2908.9704 | 3164.1864 | 3655.0145
P50 | 4147.7351 | 4441.9583 | 4718.5 | 4996.9926 | 5275.2056 | 5546.0817 | 5817.7483 | 6093.9697 | 6364.6107 | 6627.7998
P90 | 4222.3176 | 4512.9889 | 4789.6841 | 5068.3124 | 5346.1582 | 5616.7078 | 5888.7715 | 6164.9897 | 6435.0246 | 6697.8463

## Slide 94: Slide 70 North P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 1483.4728 | 1407.7908 | 1451.5364 | 1440.1835 | 1393.5089 | 1521.8453
P50 | 1488.907 | 1495.8035 | 1914.7682 | 1922.2792 | 1929.9148 | 1937.3636 | 1944.7129 | 1951.9765 | 1958.9829 | 1965.6889
P90 | 1588.3087 | 1595.202 | 2015.7593 | 2023.2786 | 2030.9111 | 2038.3548 | 2045.7026 | 2052.9613 | 2059.958 | 2066.6569

## Slide 95: Slide 71 North Central P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 24420.6897 | 23445.6124 | 24580.6459 | 25282.3165 | 24313.2101 | 26499.241
P50 | 25764.4668 | 26049.9898 | 26348.5456 | 26661.2889 | 26978.9924 | 27291.1004 | 27603.2997 | 27917.1607 | 28222.4987 | 28516.7715
P90 | 26983.4852 | 27269.2308 | 27568.0396 | 27880.9844 | 28198.6332 | 28510.6729 | 28822.9353 | 29136.749 | 29441.8726 | 29736.0076

## Slide 96: Slide 72 South P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 5206.7333 | 5352.2159 | 5455.4528 | 5786.8259 | 5845.2837 | 5791.2531
P50 | 6090.1971 | 6260.1376 | 6437.6276 | 6624.6645 | 6820.6348 | 7013.76 | 7207.988 | 7403.8736 | 7592.8571 | 7773.0996
P90 | 6231.8402 | 6401.4544 | 6579.0596 | 6766.1467 | 6962.1482 | 7155.25 | 7349.4978 | 7545.3815 | 7734.3127 | 7914.5092

## Slide 97: Slide 73 South Central P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 11432.8102 | 11452.2257 | 12032.5532 | 12344.8416 | 11970.2041 | 12886.8971
P50 | 12676.8529 | 12899.5125 | 13134.9362 | 13384.5573 | 13636.9906 | 13882.8458 | 14125.2174 | 14366.8989 | 14602.2775 | 14829.608
P90 | 13333.8075 | 13557.4613 | 13793.8905 | 14044.1645 | 14296.2677 | 14541.7277 | 14784.0862 | 15025.5555 | 15260.3105 | 15487.2666

## Slide 98: Slide 74 West P50 and P90 Peak Forecasts
Chart: Year
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Actual | 1862.3039 | 1852.9276 | 1883.889 | 1899.0862 | 1901.9406 | 2083.5791
P50 | 2066.8674 | 2121.8146 | 2179.812 | 2242.1295 | 2306.0728 | 2367.8111 | 2428.8507 | 2488.651 | 2545.8662 | 2601.1886
P90 | 2179.3585 | 2234.3538 | 2292.4704 | 2354.8959 | 2418.8083 | 2480.4985 | 2541.5268 | 2601.2683 | 2658.4093 | 2713.6942