## Slide 1
Proposed Changes to ERS Time Period
Sandip Sharma
Manager Operations Planning
Dec. 14, 2018

## Slide 2: Existing ERS Time Periods

## Slide 3: Proposed ERS Time Periods

## Slide 4: Comparison between Existing and Proposed Time Periods
Weekday
HE01 | Time Period 6 | Time Period 7*
HE02 | Time Period 6 | Time Period 7*
HE03 | Time Period 6 | Time Period 7*
HE04 | Time Period 6 | Time Period 7*
HE05 | Time Period 6 | Time Period 7*
HE06 | Time Period 1 | Time Period 1*
HE07 | Time Period 1 | Time Period 1*
HE08 | Time Period 1 | Time Period 1*
HE09 | Time Period 2 | Time Period 1*
HE10 | Time Period 2 | Time Period 2*
HE11 | Time Period 2 | Time Period 2*
HE12 | Time Period 2 | Time Period 2*
HE13 | Time Period 2 | Time Period 2*
HE14 | Time Period 3 | Time Period 2*
HE15 | Time Period 3 | Time Period 2*
HE16 | Time Period 3 | Time Period 3*
HE17 | Time Period 4 | Time Period 3*
HE18 | Time Period 4 | Time Period 3*
HE19 | Time Period 4 | Time Period 4*
HE20 | Time Period 5 | Time Period 4*
HE21 | Time Period 5 | Time Period 4*
HE22 | Time Period 5 | Time Period 7*
HE23 | Time Period 6 | Time Period 7*
HE24 | Time Period 6 | Time Period 7*
Weekend
HE01 | Time Period 6 | Time Period 7*
HE02 | Time Period 6 | Time Period 7*
HE03 | Time Period 6 | Time Period 7*
HE04 | Time Period 6 | Time Period 7*
HE05 | Time Period 6 | Time Period 7*
HE06 | Time Period 1 | Time Period 5*
HE07 | Time Period 1 | Time Period 5*
HE08 | Time Period 1 | Time Period 5*
HE09 | Time Period 2 | Time Period 5*
HE10 | Time Period 2 | Time Period 7*
HE11 | Time Period 2 | Time Period 7*
HE12 | Time Period 2 | Time Period 7*
HE13 | Time Period 2 | Time Period 7*
HE14 | Time Period 3 | Time Period 7*
HE15 | Time Period 3 | Time Period 7*
HE16 | Time Period 3 | Time Period 6*
HE17 | Time Period 4 | Time Period 6*
HE18 | Time Period 4 | Time Period 6*
HE19 | Time Period 4 | Time Period 6*
HE20 | Time Period 5 | Time Period 6*
HE21 | Time Period 5 | Time Period 6*
HE22 | Time Period 5 | Time Period 7*
HE23 | Time Period 6 | Time Period 7*
HE24 | Time Period 6 | Time Period 7*

## Slide 5: Net Load Ramp Risk Factor

## Slide 6: Net Load Profile

## Slide 7
Questions?

## Slide 8: Wind Generation Capacity – October 2018
Chart: 
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
 | 9604 | 10407 | 11065 | 12470 | 15764 | 17604 | 20682 | 21550 | 21550 | 21550
 | 1265 | 6263 | 7835
 | 14 | 3719 | 5739
Cumulative Installed and Planned | 9604 | 10407 | 11065 | 12470 | 15764 | 17604 | 20682 | 22829 | 31531 | 35124
The data presented here is based upon the latest registration data provided to ERCOT by the resource owners and can change without notice. Any capacity changes will be reflected in current and subsequent years' totals. Scheduling delays will also be reflected in the planned projects as that information is received. This chart reflects planned units in the calendar year of submission rather than installations by peak of year shown. Financial security posted for funding interconnection facilities does not include CREZ security deposits, which are refunded to the Interconnecting Entity when an IA is signed.
As of October 31, 2018
Steady growth continues, with some spikes.
Largest annual increase: 3,294 MW in 2015 (A close second: 3,220 MW in 2008)
Incentives, uncertainty and other factors affect construction decisions and schedules.
Not all planned projects will get built.
Texas continues to lead U.S. in wind capacity.
Future outcomes uncertain

## Slide 9: Utility Scale Solar Generation Capacity – October 2018
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Cumulative MW Installed | 15 | 42 | 82 | 121 | 193 | 287.7 | 556 | 1000 | 1487 | 1487 | 1487
IA Signed-Financial Security Posted | 269 | 1370 | 1795
IA Signed-No Financial Security | 1324 | 2111
Cumulative Installed and Planned | 15 | 42 | 82 | 121 | 193 | 287.7 | 556 | 1000 | 1756 | 4181 | 5394
The data presented here is based upon the latest registration data provided to ERCOT by the resource owners and can change without notice. Any capacity changes will be reflected in current and subsequent years' totals. Scheduling delays will also be reflected in the planned projects as that information is received. This chart reflects planned units in the calendar year of submission rather than installations by peak of year shown.
As of October 31, 2018