## Summary
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, SUMMER PEAK SEASONS
Summer Peak Ave. Solar Capacity Percentages
Top Twenty Peak Hours for Each year |  | SOLARPEAKPCT Values *
Year |  | 73.52%
2018 | 79.25%
2017 | 75%
2016 | 66.3%
2015 | 83.4% | * The methodology for calculating SOLARPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See:http://www.ercot.com/content/wcm/current_guides/53528/03-090118_Nodal.docx
2014 | 79.82%
2013 | 77.86%
2012 | 80.24%

## Graphs
HISTORICAL SOLAR CAPACITY CONTRIBUTION - SUMMER PEAK SEASON
Capacity Factors | High | Low | Average
Summer 2012-2017 | 100% | 44.39% | 77.44%
Summer 2012 | 100% | 65.54% | 80.24%
Summer 2013 | 87.95% | 61.08% | 77.86%
Summer 2014 | 89.69% | 57.56% | 79.82%
Summer 2015 | 94.96% | 60.13% | 83.4%
Summer 2016 | 85.33% | 44.39% | 66.3%
Summer 2017 | 90.35% | 52.76% | 75.24%
Summer 2018 | 87.25% | 60.3% | 79.25%

## S2018
HOUR | 2018-7-18 HE16 | 2018-7-18 HE17 | 2018-7-18 HE18 | 2018-7-18 HE19 | 2018-7-19 HE15 | 2018-7-19 HE16 | 2018-7-19 HE17 | 2018-7-19 HE18 | 2018-7-19 HE19 | 2018-7-20 HE16 | 2018-7-20 HE17 | 2018-7-20 HE18 | 2018-7-20 HE19 | 2018-7-22 HE17 | 2018-7-22 HE18 | 2018-7-23 HE15 | 2018-7-23 HE16 | 2018-7-23 HE17 | 2018-7-23 HE18 | 2018-7-23 HE19
ERCOT LOAD (MW) | 71621 | 72398 | 72289 | 71159 | 71635 | 72900 | 73473 | 73298 | 72228 | 72343 | 72956 | 72681 | 71115 | 71290 | 71578 | 72098 | 73058 | 73029 | 72565 | 71123
SOLAR HSL (MW) | 1099.5902 | 1093.38 | 1054.338 | 935.1472 | 994.6332 | 1014.0091 | 995.7857 | 935.9729 | 847.3169 | 1064.2781 | 1046.0115 | 1019.9542 | 927.1523 | 1067.6193 | 1040.719 | 1079.1125 | 1066.6063 | 1002.8357 | 930.6219 | 759.9059
SOLAR CAPACITY (MW) | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3 | 1260.3
CAPACITY FACTOR | 87.25% | 86.76% | 83.66% | 74.2% | 78.92% | 80.46% | 79.01% | 74.27% | 67.23% | 84.45% | 83% | 80.93% | 73.57% | 84.71% | 82.58% | 85.62% | 84.63% | 79.57% | 73.84% | 60.3%
CAPACITY FACTOR AVG | 79.25%
SEASON | SUMMER 2018