## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Percy Galliguez, Brazos Electric Power Cooperative
ROS
January 10th, 2019

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    1 FME in the month of November
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 12/17/18
  Review of Open Action Items- 6 Items primarily for ERCOT(1 New)
  Review of Future Action Items- 8 Items
  Review 2019 PDCWG ERCOT Calendar
  Discuss future PDCWG Leadership-possible new leaders in 2019
  Texas RE Report
    -BAL-001-TRE-01 Standard drafting team Kickoff
  Chair: NRG Chad Mulholland
  Vice-Chair: Calpine Arthur Macklin
    NERC Resource Subcommittee meeting January 23 and 24 at ERCOT Metro Center in Austin
    BAL-003 SDT Initial drafts upcoming
    PRC-24 and PRC-19 also have some revisions in work, largely relating to protection systems, and impacting renewables
  Regulation & Frequency Control Reports

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 1 FME in November
  11/10/2018 09:25:21
    Loss of 516 MW
    Interconnection Frequency Response:
    2 of 39 Evaluated Generation Resources(0 of 23 RRS Providers) had less than 75% of their expected Initial Primary Frequency Response.
    2 of 39 Evaluated Generation Resources (0 of 23 RRS Providers) had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 990.39 MW/0.1Hz

## Slide 7: Frequency Control Report
November 2018

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections

## Slide 12: ERCOT Total Energy

## Slide 13: ERCOT Total Energy from Wind Generation

## Slide 14: ERCOT % Energy from Wind Generation

## Slide 15
Questions?