ERCOT VOLTAGE PROFILE WORKING GROUP (VPWG)

## January 2019 Report to ROS

### Recent Meetings- November 13 and January 8

* ERCOT posted WIN/SPG Voltage Profiles. Generators should coordinate any new set point changes with their Transmission Operators.
* Group revised VPWG procedure manual
* ERCOT presented their VSS Generating Units List to verify the plants with voltage support requirements. Plants required to maintain voltage at the POI either meet the Protocol 3.15 definition for Voltage Support Service (VSS) or the NERC BES definition applicable to VAR-002 requirements, including some large Settlement Only Generators. NPRR776 telemetry will be added for any new ones or removed for any not on this list.
* VPWG discussed 2019 Leadership Nominations- Matthew Lewis ETT (Chair) and Biju Mathew LCRA (Vice Chair)

### Future Planned Meetings

* Group picked 2019 meeting dates
* Next meeting planned for Feb 12

Matthew Lewis Biju Mathew

VPWG Chair VPWG Vice Chair