## Slide 1
NPRR909 Address Unavailability Gap for ERS and Other Minor Clarifications
Diana Rios
Demand Integration
1/9/2019

## Slide 2: Summary of NPRR909
Addresses periods of unavailability due to unplanned unavailability for ERS Loads and ERS Generators;
Addresses what happens if a generator fails an event, where as the current language only addresses failures for a test;
Other minor edits; (e.g., deleting duplicated requirements for the same posting, deleting duplicated language, adding clarifying words)

## Slide 3
10/24/2018 – NPRR909 was presented in draft form to DSWG for discussion
10/24/2018 - Demand Integration requested comments be submitted to ERCOT- no comments received
11/20/2018 NPRR909 was posted