| NPRR Number | 891 | NPRR Title | Removal of NOIE Capacity Reporting Threshold for the Unregistered Distributed Generation Report |
| --- | --- | --- | --- |
| Date |  | January 10, 2019 |  |
| Submitter’s Information |  |  |  |
| Name |  | David Kee on behalf of the Wholesale Market Subcommittee (WMS) |  |
| E-mail Address |  | DEKee@CPSEnergy.com |  |
| Company |  | CPS Energy |  |
| Phone Number |  | 210-353-6912 |  |
| Cell Number |  | 210-667-5206 |  |
| Market Segment |  | Not Applicable |  |

Comments

On January 9, 2019, WMS reviewed Nodal Protocol Revision Request (NPRR) 891 and considered discussion held at the December 12, 2018 Supply Analysis Working Group (SAWG).  WMS voted to endorse NPRR891 as amended by the 9/7/18 ERCOT comments as revised by WMS.  There was one opposing vote from the Cooperative Market Segment (GSEC).  All Market Segments were present for the vote.

Revised Cover Page Language

None

Revised Proposed Protocol Language

- 3.2.5.1	Unregistered Distributed Generation Reporting Requirements for Non Opt-In Entities

(1)	This Section describes the data that shall be submitted to ERCOT for the unregistered Distributed Generation (DG) behind Non-Opt-In Entity (NOIE) boundary metering points.

(2)	Within ten Business Days after the end of each quarter, NOIEs shall submit to ERCOT electronically, the required data described below as of the last day of the prior quarter by submitting the designated form provided on the ERCOT website.  The report shall include the  NOIE’s aggregate unregistered DG MW capacity above 50kW, inclusive of systems used to support self-serve load by Load Zone and by primary fuel type as follows:

(a)	Solar;

(b)	Wind;

(c) 	Other renewable; and

(d) 	Other non-renewable.

(3)	By March 1 of each calendar year, NOIEs shall submit to ERCOT the NOIE’s annual aggregate unregistered DG MW capacity inclusive of systems used to support self-serve load, for the preceding calendar year reported by Load Zone and by primary fuel type as follows:

(a)	Solar;

(b)	Wind;

(c) 	Other renewable; and

(d) 	Other non-renewable.

(4)	Capacity reporting  for each of the above reports is only required to include the capacity known to the NOIE at the time that its report is being prepared, and shall not require the NOIE to conduct new survey activities for their service territory to identify unknown unregistered DG installations.  NOIEs for which DG data is not readily available may request a reporting exemption for one calendar year from ERCOT and ERCOT may grant such request if it deems the exemption appropriate.