## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to ROS
January 10, 2019
Dylan Preas
2018 PGDTF Chair
<number>
Notes: <number>

## Slide 2: PGDTF Meeting
Business meeting was held on December 13th
Discussed Federal and State activities regarding GMD
  NERC TPL-007-2 approved by FERC
Update to the PGDTF Scope
  Status of the current scope reviewed
  New and improved scope under development
Discussed Vulnerability Assessment Event Descriptions
  Market notice from ERCOT in January, 2019
Final GIC Flows posted by ERCOT
  ERCOT to present the results at the February ROS meeting
<number>
1/10/2019 ROS Meeting
Notes: <number>

## Slide 3: PGDTF Meeting
PSSE versus PowerWorld Benchmark
  AEP conducted a comparison and noted differences
  ERCOT to investigate
GIC System Model Procedure Manual update
  ERCOT developing a draft update to include a “modeling expectations” document and validation rules
  Schedule with expected ROS approval in March, 2019
2022 SSWG summer peak/min case building
  Pending updated 18SSWG 2022 cases in March, 2019
1/10/2019 ROS Meeting
<number>

## Slide 4: Upcoming PGDTF Activities
  Impacts of NERC TPL-007-2
  PGDTF Scope update
  GIC System Model Procedure Manual
  2022 GIC System Model case building
  GMD Vulnerability Event Descriptions
  2019 ERCOT GMD Vulnerability Assessment
<number>
1/10/2019 ROS Meeting

## Slide 5: Questions
<number>
1/10/2019 ROS Meeting