## Slide 1: Operations Working Group
Chair- Rick Gillean
Vice-Chair- Rickey Floyd
01/10/2019

## Slide 2: NPRR 849, Clarification of the range of Voltage Set Points at a Generation Resources' Point of Interconnection (POI)
This Nodal Protocol Revision Request (NPRR) clarifies the range of voltages at the Point of Interconnection (POI) and circumstances for which a Generation Resource’s reactive capability must be designed to meet and clarifies the ability of ERCOT and the TSP or its designated agent (e.g. Transmission Operator (TO)) to issue an instruction for any available reactive capability at voltages outside of the reactive capability requirements.
There is not a consensus from OWG to approve the language for NPRR 849.

## Slide 3: NOGRR183, Remedial Action Scheme (RAS) Submittal and Review Requirements
This Nodal Operating Guide Revision Request (NOGRR) aligns the Nodal Operating Guides with North American Electric Reliability Corporation (NERC) Reliability Standard PRC-012-2 - Remedial Action Schemes.
Documentation describing the system performance resulting from the possible inadvertent operation of the RAS or failure to operate. RAS inadvertent operation or failure to operate must satisfy all of the following:
a. The ERCOT System shall remain stable;
b. Cascading shall not occur;
c. Applicable Transmission Facility Ratings shall not be exceeded;
d. ERCOT System voltages shall be within post-contingency voltage limits and post-contingency voltage deviation limits as established by ERCOT; and
e. Transient voltage responses shall be within acceptable limits as established by ERCOT.
OWG will take up discussion of NOGRR183 at the January 24, 2019 OWG meeting.

## Slide 4: Outage Coordination Working Group
Minor edits were proposed for the Operations Working Group (OWG) Scope
Annually develop the list of High Impact Transmission Elements (“HITEs”) as discussed in ERCOT’s HITE methodology document. The OWG chair may recommend a subgroup chair to facilitate this activity, subject to ROS approval as described above.
OWG and OCWG will hold a joint meeting in January (01/24/19) to further discuss combining the two groups.