## Slide 1
NPRR 917
Nodal Pricing for Settlement-Only Distributed Generators and Settlement-Only Transmission Generators
ERCOT Staff
DSWG Meeting
Jan. 11, 2019

## Slide 2: Background
From Section 2 of the ERCOT Nodal Protocols, as amended by NPRR 889 (a.k.a., RTF1), approved by Board Dec. 11, 2018:
Settlement Only Distribution Generator (SODG)
A generator that is connected to the Distribution System with a rating of:
(1) One MW or less that chooses to register as an SODG; or
(2) Greater than one and up to ten MW that is capable of providing a net export to the ERCOT System and does not register as a Distribution Generation Resource (DGR).
SODGs must be registered with ERCOT in accordance with Planning Guide Section 6.8.2, Resource Registration Process, and will be modeled in ERCOT systems for reliability in accordance with Section 3.10.7.2, Modeling of Resources and Transmission Loads.

## Slide 3: Background
Also from Section 2 as amended by NPRR 889:
Settlement Only Transmission Generator (SOTG)
A generator that is connected to the ERCOT transmission system with a rating of ten MW or less and is registered with the Public Utility Commission of Texas (PUCT) as a power generation company. SOTGs must be registered with ERCOT in accordance with Planning Guide Section 6.8.2, Resource Registration Process, and may be modeled in ERCOT systems for reliability in accordance with Section 3.10.7.2, Modeling of Resources and Transmission Loads.
Prior to NPRR 889, SODGs and SOTGs were known as Non-Modeled Generators in the ERCOT Protocols
NPRR 889: http://www.ercot.com/mktrules/issues/NPRR889

## Slide 4: NPRR 917 pricing proposal
NPRR 917 would extend applicable nodal pricing to SODGs and SOTGs
  This would provide incentives for behavior consistent with Nodal market design and the reliability needs of the ERCOT system
In the Real-Time Market, a nodal price is calculated for each electrical bus in the system at every SCED run
  There are ~13,100 electrical buses in the system
The NPRR would establish nodal pricing as follows:
  SODGs (distribution connected generators) would be paid the time-weighted price created at the Load point (electrical bus) to which the unit is mapped, per NPRR 866
  SOTGs (transmission-connected generators), which are already fully modeled, would be paid the time-weighted price at the electrical bus determined by ERCOT in review of the meter location in the Model

## Slide 5: Snapshot of affected generators (as of 1/10/19)
SODGs | No. of Units | MW
Non-Renewable | 160 | 498
Renewable | 55 | 320
TOTALS | 215 | 818
SOTGs: 4 Units, 35.5 MW total
(Mixture of renewable and non-renewable)
73 units totaling 148 MW added since 1/1/18

## Slide 6: Benefits of Nodal Pricing
SODGs and SOTGs have always been settled at the applicable Load Zone price
Nodal (instead of zonal) pricing would provide proper incentives for Non-Modeled Generators and registered DG in transmission-constrained areas, such as:
  Generation pockets where Generation Resources are receiving negative LMPs due to transmission constraints, but the zonal price remains positive. In such cases, positive zonal price signals provide adverse incentives for Non-Modeled Generators to continue producing or even increase production.
  Load pockets where Generation Resources are receiving LMPs that are much higher than the zonal price due to transmission constraints. In such cases the diluted zonal prices fail to provide Non-Modeled Generators and DG registered with ERCOT with the incentive to produce and thus help to resolve the constraint.

## Slide 7: Precursor
NPRR 866 establishes the methodology for mapping SODGs to their appropriate Load point in the transmission system
  Load point equates to an electrical bus
  NPRR approved by ERCOT Board Aug. 7, 2017
  CURRENT STATUS: Implementation by April 2019
  http://www.ercot.com/mktrules/issues/NPRR866

## Slide 8: What does NPRR 917 actually change?
The only change is the price signal
  These generators respond passively to price signals; this NPRR just provides the more appropriate price
SODGs and SOTGs:
  Are not Generation Resources;
  Do not require Resource Node Settlement Points for Settlement purposes;
  Are not eligible to participate in Security-Constrained Economic Dispatch (SCED) or in the Ancillary Service(s) markets, and will not receive SCED Base Points;
  Are not required to submit telemetry;
  Are not required to submit Current Operating Plans (COPs); and
  Are not subject to Reliability Unit Commitment (RUC)

## Slide 9: Other options
If an SOTG wants to participate in SCED or Ancillary Services:
  It can register as a Generation Resource (GR)
If an SODG wants to participate in SCED or Ancillary Services:
  It can register as a Distribution Generation Resource (DGR)
    Also a new term from NPRR 889
Distribution Generation Resource (DGR)
A Generation Resource connected to the Distribution System that is either:
(1) Greater than ten MW and not registered with the Public Utility Commission of Texas (PUCT) as a self-generator; or
(2) Ten MW or less that chooses to register as a Generation Resource to participate in the ERCOT markets.
DGRs must be registered with ERCOT in accordance with Planning Guide Section 6.8.2, Resource Registration Process, and will be modeled in ERCOT systems in accordance with Section 3.10.7.2, Modeling of Resources and Transmission Loads.

## Slide 10: What NPRR 917 will NOT do:
This NPRR:
  Would not create new Resource Nodes
  Would not introduce new Settlement Points
  Would not affect the CRR Markets
The NPRR does not apply to unregistered DG (e.g., residential/commercial rooftop solar PV)
  Registration is required for units >1 MW; optional for smaller units
The NPRR does not address Wholesale Storage Load treatment for a storage facility in which the re-generated energy is provided by an SODG or SOTG
  This may be addressed in a subsequent NPRR

## Slide 11: A final note: SOTSGs
NPRR 889 also created the category of Settlement Only Transmission Self Generator (SOTSG)
  Also formerly Non-Modeled Generator
ERCOT is evaluating appropriate pricing for these generators and will submit an NPRR if it determines that self-generators should not be settled using a zonal energy price
Settlement Only Transmission Self-Generator (SOTSG)
A generator that is connected to the ERCOT transmission system with a rating of one MW or more and is registered with the Public Utility Commission of Texas (PUCT) as a self-generator. SOTSGs must be registered with ERCOT in accordance with Planning Guide Section 6.8.2, Resource Registration Process, and will be modeled in ERCOT systems for reliability in accordance with Section 3.10.7.3, Modeling of Private Use Networks.

## Slide 12: NPRR 917 Impact Analysis
Current IA:
  Cost: $300K - $400K
  Project duration: 9 to 12 months

## Slide 13
Questions?