## Slide 1
Preliminary Results of Droop Performance Evaluation
ERCOT
Operations Planning
PDCWG | January 16th, 2019

## Slide 2: Droop Evaluation
2016-2018 Events Review
83 Individual Events
3,918 Records Evaluated
  Excluded Evaluations where Expected > Headroom
  Excluded No Evaluations

## Slide 3: Droop Evaluation Calculation
P = Generation Resource Base Load (MW)
= Change in frequency (Hz), taking into account Governor Dead-Band
= Change in Power Output (MW)
Section 8: Turbine Governor Speed Test

## Slide 4: Questions?
Thank you!