## Slide 1
ERCOT Frequency Control Report
December 2018
ERCOT
Operations Planning
PDCWG | January 16th, 2019

## Slide 2: Summary of December 2018
CPS1: 175.64%
Current CPS1 12-Month Rolling Average: 175.67%
0 BAAL Exceedance
1 hourly CPS1 scores below 100%
BAAL-003 Events have updated through August
2018 BAAL-003 FRM Performance: -895.19
2018 RMS1 Statistics
  Mean: 14.74 mHz
  Min: 12.22 mHz
  Max: 18.20 mHz
Energy Statistics
  Total Energy: 28,697,628 MWh
  Wind Energy: 6,106,225 MWh
  Percent Energy from Wind Generation: 21.28%
Minimum System Inertia
  Mean: 188,781
  Max: 254,920 on December 9th
  Min: 146,019 on December 27th

## Slide 3: Frequency Control
CPS1, BAAL, & RMS1

## Slide 4: Hourly CPS1 by Day
December-18 CPS1 (%): 175.64
Notes: Outliers:
12/27/18 11:00: 81.84%
Large Expected Generation Deviation and Regulation Up Exhausted from 11:00 – 11:20, 11:28 – 11:38, 11:46 – 11:59. Wind ramp down of >2300 MW over the hour.

## Slide 5: BAAL Exceedances & Violations
There were no BAAL exceedances

## Slide 6: 15-Minute Average CPS1%
December-18 CPS1 (%): 175.64

## Slide 7: 12-Month Rolling Average CPS1
Current 12-Month Rolling Average: 175.67%

## Slide 8: Daily RMS1 of ERCOT Frequency by Year
Notes: Mean is 14.73 mHz

## Slide 9: Daily RMS1 of ERCOT Frequency by Month

## Slide 10: Daily RMS1 of ERCOT Frequency by Month

## Slide 11: Daily RMS1 of ERCOT Frequency by Month
Notes: Mean: 14.74 mHz
Min: 12.22 mHz
Max: 18.20 mHz

## Slide 12: Frequency Profile Comparison

## Slide 13: Frequency Profile Comparison

## Slide 14: Frequency Profile Comparison

## Slide 15: Time Error Correction

## Slide 16: ERCOT Daily Time Error

## Slide 17: Time Error Corrections Log Summary
There have been no time error corrections since December 2016

## Slide 18: BAL-003 Performance

## Slide 19: Op. Year 2018 BAL-003 Selected Events
Maybe. Will be valuated at the end of the year.

## Slide 20: Op. Year 2018 BAL-003 FRM Performance

## Slide 21: ERCOT Energy Statistics

## Slide 22: Total Energy
Notes: 28,697,628 MWh

## Slide 23: Total Energy from Wind Generation
Notes: 6,106,225 MWh

## Slide 24: % Energy from Wind Generation
Notes: 21.28%

## Slide 25: ERCOT System Inertia

## Slide 26: Daily Minimum System Inertia
Notes: Minimum Inertia = 128,759 MW*s on 11/3/2018. Need details here.
Previous Minimum was 130,014 MW*s on 10/27/2017. This was also our record wind day.
December:
Mean: 188,781
Max: 254,920 on December 9th
Min: 146,019 on December 27th

## Slide 27: Questions?
Thank you!

## Slide 28: Op. Year 2017 BAL-003 Selected Events
Notes: Frequency Bias updated from 764 to 759 in April

## Slide 29: Op. Year 2017 BAL-003 FRM Performance