## Slide 1: Open WMS Action Items
Open Action Items | Status
Transmission losses in Real-Time Settlement | On hold due to 47199
Directive #7 (Southern Cross Transmission Assignment) | On hold for Directive 6
Day-Ahead Market OD 1/23/18 Event Assignment | Complete
Review the issue of High Revenue Neutrality Allocation (RENA) and PTP Obligations | In process
Virtuals in the Day-Ahead Market (DAM) being settled at a Resource Node while in Real-Time they are settled at the connectivity node | Remove
Examine whether capacity curtailed for purpose of base case violations should be included in Operating Reserve Demand Curve (ORDC) reserve calculations | TBD
Consider pros/cons of increasing Congestion Revenue Right (CRR) account and review drivers | TBD
Directive #4 (Southern Cross Transmission Assignment) - review ROS/OWG solutions | On hold for ROS decision
Determine if there are additional refinements to SCR798, PTP Obligation Bid ID Limit | TBD

## Slide 2: Open Self Assigned Action Items
Open Action Items | Status
Operational Next-Day Study Discussion - Review outage cancellation rules | Seeking direction from CMWG members
Non-ERS deployments of ERS Generators | Seeking direction from CMWG members
RENA Workshop - Review of LDFs and possible updates | TBD
RENA Workshop - Review of RASs | TBD
RENA Workshop - Developing a Granular Forecast to improve RENA imbalances | TBD