## Instructions
In preparation for the 2019 GMD Vulnerability Assessment, TSPs and Resource Entities are required to assess the impact of the benchmark GMD event on their equipment to develop the list of potential equipment removed from service during the benchmark GMD event. The equipment impact assessments, should at a minimum, identify equipment that is anticipated to be removed from service as a direct consequence of the benchmark GMD Event. These equipment impact assessments should not be limited to the transformer thermal impact assessments required per Requirement R6 of TPL-007-1 but should also include generator, capacitor bank, SVC and protective relaying on the equipment.
TSPs and REs will categorize the equipment anticipated to be removed from service as outlined below.
1. Equipment anticipated to have High probability to be removed from service as a result of Protection System operation or Misoperation due to harmonics that could result from the benchmark GMD event (Category A)
2. Equipment anticipated to have lower probability to be removed from service as a result of Protection System operation or Misoperation due to harmonics that could result from the benchmark GMD event (Category B)
Please use the tab named "Category A" to submit your Category A equipment. The removal of these equipment may be studied simultaneously in the GMD Vulnerability Assessment.
Please use the tab named "Category B" to submit your Category B equipment. The removal of these equipment may be studied one at a time in the GMD Vulnerability Assessment.
For both Category A and Category B equipment, please include the rationale for both the outage and the probability category in the provided fields.

## Category A
TSP or RE? | TSP/RE Name | Equipment Type | From Bus Number | From Bus Nominal kV | To Bus Number | To Bus Nominal kV | Last Bus Number | Last Bus Nominal kV | Equipment ID | Rationale for Outage | Rationale for Probability Category

## Category B
TSP or RE? | TSP/RE Name | Equipment Type | From Bus Number | From Bus Nominal kV | To Bus Number | To Bus Nominal kV | Last Bus Number | Last Bus Nominal kV | Equipment ID | Rationale for Outage | Rationale for Probability Category