Date:	January 30, 2019

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR recommended for approval by PRS: - NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve [STEC] - NPRR886, Agreements Between ERCOT and Other Control Area Operators [Citigroup] - NPRR905, CRR Balancing Account Resettlement [MSWG] - NPRR906, Clarifying the Decision Making Entity Process [ERCOT] - NPRR907, Revise Definition of M1a to Reflect Actual Calendar Days [ERCOT] - NPRR910, Clarify Treatment of RUC Resource that has a Day-Ahead Market Three-Part Supply Award [ERCOT] - NPRR911, Improved Calculation of Real-Time LMPs at Logical Resource Nodes for On-Line Combined Cycle Generation Resources [ERCOT] - NPRR915, Define Limited Duration Resource and Clarify Telemetered Resource Status Requirements – URGENT [Luminant]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve [STEC] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2650 ERCOT Impact Analysis: Between $2.5M and $3.5M; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS), Data and Information Products (DAIP), Energy Management System (EMS), Market Settlements (S&B), Integration, BI & Data Analytics, CRM & Registration System (REG), Network Model Management System (NMMS), Operator Training Simulator (OTS), and Data Access & Transparency; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR modifies Responsive Reserve (RRS) to be primarily a frequency response service and creates a new Ancillary Service: ERCOT Contingency Reserve Service (ECRS). PRS Decision: On 10/18/18, PRS voted via roll call vote to recommend approval of NPRR863 as amended by the 10/1/18 STEC comments. There were two opposing votes from the Independent Generator (Invenergy, Luminant) Market Segment and six abstentions from the Consumer (2) (Occidental, Nucor), Cooperative (2) (LCRA, PEC), Independent Retail Electric Provider (IREP) (Direct), and Municipal (Austin Energy) Market Segments. On 12/13/18, PRS voted to endorse and forward to TAC the 10/18/18 PRS Report as revised by PRS and Impact Analysis for NPRR863 with a recommended priority of 2019 and rank of 2650. There were two opposing votes from the Independent Generator (Luminant) and Municipal (Austin Energy) Market Segments and three abstentions from the Consumer (Occidental), Cooperative (LCRA), and Independent Generator (Invenergy) Market Segments. - NPRR886, Agreements Between ERCOT and Other Control Area Operators [Citigroup] Proposed Effective Date: March 1, 2019 ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR requires that ERCOT, to the extent possible, provide Notice and allow time for comments prior to executing any new or amended agreement with another Control Area Operator. PRS Decision: On 11/15/18, PRS unanimously voted to recommend approval of NPRR886 as amended by the 10/15/18 ERCOT comments as revised by PRS. On 12/13/18, PRS voted to endorse and forward to TAC the 11/15/18 PRS Report as revised by PRS and Impact Analysis for NPRR886. There was one abstention from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. - NPRR905, CRR Balancing Account Resettlement [MSWG] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2630 ERCOT Impact Analysis: Between $60k and $80k; no impacts to ERCOT staffing; impacts to S&B and DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides resettlement to reflect proper distribution of the Congestion Revenue Right (CRR) Balancing Account (CRRBA). PRS Decision: On 11/15/18, PRS unanimously voted to recommend approval of NPRR905 as submitted. On 12/13/18, PRS unanimously voted to endorse and forward to TAC the 11/15/18 PRS Report and Impact Analysis for NPRR905 with a recommended priority of 2019 and rank of 2630. - NPRR906, Clarifying the Decision Making Entity Process [ERCOT] Proposed Effective Date: March 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR streamlines the Protocol language across all sections and removes any ambiguity that may exist as to how ERCOT systems handle the Decision Making Entity (DME) during mitigation. PRS Decision: On 11/15/18, PRS unanimously voted to recommend approval of NPRR906 as submitted. On 12/13/18, PRS unanimously voted to endorse and forward to TAC the 11/15/18 PRS Report and Impact Analysis for NPRR906. - NPRR907, Revise Definition of M1a to Reflect Actual Calendar Days [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2640 ERCOT Impact Analysis: Between $15k and $35k; no impacts to ERCOT staffing; impacts to Credit Monitoring and Management (CMM) and DAIP; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR replaces the existing fixed value of M1a with a value that can vary based on non-Bank Business Days and ERCOT holidays following the specific Operating Day. PRS Decision: On 11/15/18, PRS unanimously voted to recommend approval of NPRR907 as submitted. On 12/13/18, PRS unanimously voted to endorse and forward to TAC the 11/15/18 PRS Report as revised by PRS and the Impact Analysis for NPRR907 with a recommended priority of 2019 and rank of 2640. Credit WG Review: See 12/13/18 Credit WG comments - NPRR910, Clarify Treatment of RUC Resource that has a Day-Ahead Market Three-Part Supply Award [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2506 ERCOT Impact Analysis: Between $60k and $90k; no impacts to ERCOT staffing; impacts to MMS, DAIP, and OTS; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR codifies eligibility, pricing, and Settlement for a Resource that has been awarded a Three-Part Supply Offer in the Day-Ahead Market (DAM) but decides not to operate the Resource in the Real-Time Market (RTM) and subsequently receives a Reliability Unit Commitment (RUC) instruction to operate that Resource. PRS Decision: On 12/13/18, PRS voted to recommend approval of NPRR910 as submitted. There was one abstention from the Independent Generator (Luminant) Market Segment. On 1/17/19, PRS unanimously voted to endorse and forward to TAC the 12/13/18 PRS Report and Impact Analysis for NPRR910 with a recommended priority of 2019 and rank of 2506. - NPRR911, Improved Calculation of Real-Time LMPs at Logical Resource Nodes for On-Line Combined Cycle Generation Resources [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2660 ERCOT Impact Analysis: Between $50k and $75k; no impacts to ERCOT staffing; impacts to MMS, DAIP, EMS, and OTS; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR follows NPRR890, Correction to Calculation of Real-Time LMPs at Logical Resource Node for On-Line Combined Cycle Generation Resources, and reverts the applicable Protocol sections back to previous language for determining Real-Time LMPs of the logical Resource Nodes for On-Line Combined Cycle Generation Resources. This NPRR also retains the language from NPRR890 that clarifies the formula for Off-Line Combined Cycle Generation Resources. PRS Decision: On 12/13/18, PRS unanimously voted to recommend approval of NPRR911 as submitted. On 1/17/19, PRS unanimously voted to endorse and forward to TAC the 12/13/18 PRS Report and Impact Analysis for NPRR911 with a recommended priority of 2019 and rank of 2660. - NPRR915, Define Limited Duration Resource and Clarify Telemetered Resource Status Requirements – URGENT [Luminant] Proposed Effective Date: To be determined ERCOT Impact Analysis: To be determined Revision Description: This NPRR defines Limited Duration Resources (LDRs) and clarifies how the Qualified Scheduling Entity (QSE) representing an LDR shall indicate to ERCOT its unwillingness to be deployed in Real-Time to reserve capacity for expected values above its Energy Offer Curve. PRS Decision: On 1/17/19, PRS voted to grant NPRR915 Urgent status. There were two opposing votes from the IPM (Morgan Stanley) and Municipal (DME) Market Segments. PRS then voted to recommend approval of NPRR915 as amended by the 1/14/19 Luminant comments as revised by PRS, and to forward to TAC. There was one opposing vote from the Independent Generator (Duke Energy) Market Segment and one abstention from the IPM (Morgan Stanley) Market Segment. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the February 14, 2019 PRS Meeting - NPRR909, Address Unavailability Gap for ERS and Other Minor Clarifications [ERCOT] - NPRR914, Addition of Controllable Load Resources to 60-Day Reports [ERCOT] - NPRR916, Mitigated Offer Floor Revisions [ERCOT] - SCR798, PTP Obligation Bid ID Limit [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] - NPRR872, Modifying the SASM Shadow Price Cap [LCRA] - NPRR885, Must-Run Alternative (MRA) Details and Revisions Resulting from PUCT Project No. 46369, Rulemaking Relating to Reliability Must-Run Service [ERCOT] - NPRR891, Removal of NOIE Capacity Reporting Threshold for the Unregistered Distributed Generation Report [ERCOT] - NPRR896, Reliability Must-Run and Must-Run Alternative Evaluation Process [ERCOT] - NPRR900, Protocol Section 14 Language Review [ERCOT] - NPRR902, ERCOT Critical Energy Infrastructure Information [ERCOT] - NPRR903, Day-Ahead Market Timing Deviations [ERCOT] - NPRR904, Revisions to Real-Time On-Line Reliability Deployment Price Adder for ERCOT-Directed Actions Related to DC Ties [Rainbow] - NPRR908, Revisions to Mass Transition Processes [ERCOT] - NPRR912, Settlement of Switchable Generation Resources (SWGRs) Instructed to Switch to ERCOT [ERCOT] - NPRR913, Generator Interconnection Neutral Project Classification [Wind Coalition] - NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs) [ERCOT] New Revision Requests Scheduled for Consideration at the February 14, 2019 PRS Meeting - NPRR918, Validation Clarification for PTP Obligations with Links to an Option [ERCOT] - NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks [Formosa] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr