## Slide 1
Software Errors Impacting
Real-Time Mitigated Offer Cap
ERCOT
January 30, 2019

## Slide 2: Software Errors Impacting MOC
In January 2019 ERCOT staff identified software errors in the Settlements system and the integration system that impacted the Mitigated Offer Cap (MOC) calculations.
Details were communicated to Market Participants in Market Notice M-A012119-01 on January 21, 2019.
The errors resulted in Verifiable Cost Operations and Maintenance Values (O&M) above the Low Sustained Limited being doubled or tripled under certain circumstances. MOC components other than O&M were not affected.
This resulted in under-mitigation of Resources for the impacted intervals, ie affected Resources would have had higher MOC curves than would otherwise had been the case.

## Slide 3: Software Errors Impacting MOC
Two months in 2017 and three months in 2018 had impacted intervals. No intervals from other years were impacted.
ERCOT is unable to perform price corrections since significant assumptions concerning the operating behavior of Resources would need to be made in order to recalculate prices.

## Slide 4: Software Errors Impacting MOC
The issue has been resolved through a manual process starting in January 2019. Software changes to correct the error will be deployed in the second release of 2019, with an estimated release date of April 2 - 4, 2019.
ERCOT has conducted a code review of similar data flows impacting mitigation and has not found any additional errors.
ERCOT is evaluating the development of additional software changes to increase the level and number of automated validations occurring for data flows that impact Real-Time mitigation.