## Slide 1: Notice Gap Generation Status Changes

## Slide 2: Protocols
Protocols Section 3.14.1.9 includes notice requirements for different generation status changes. Currently there is a gap in the notice required for any unit approved for suspension of operation by ERCOT that decides not suspend operations. Entities with approved NOSs have no notice requirement if they decide not to suspend, while if they suspend, even for one day, they have a notice requirement of 30 days to come back.

## Slide 3: Notice Requirements
3.14.1.9 Generation Resource Status Updates
Except for Mothballed Generation Resources that operate under a Seasonal Operation Period, a Resource Entity with a Mothballed Generation Resource shall notify ERCOT in writing no less than 30 days prior to the date on which the Resource Entity intends to return a Mothballed Generation Resource to service by completing a Notification of Change of Generation Resource Designation.
5) If a Resource Entity wishes to change the operational designation of a Generation Resource upon conclusion of an RMR Agreement, it must submit a Notification of Change of Generation Resource Designation no later than 60 days prior to the conclusion of the RMR Agreement.
Grey Box - [NPRR845: Replace paragraph (5) above with the following upon system implementation:]
(5) A Resource Entity must submit a Notification of Change of Generation Resource Designation no later than 60 days prior to the conclusion of an RMR Agreement.

## Slide 4: Notice Requirements continued
(6) A Resource Entity with a Mothballed Generation Resource that operates under a Seasonal Operation Period shall notify ERCOT in writing no less than 15 days prior to the date on which the Resource Entity intends to begin its Seasonal Operation Period if the first date of operation is prior to the date designated by the Resource Entity in its NSO. A Resource Entity with a Mothballed Generation Resource that operates under a Seasonal Operation Period shall notify ERCOT in writing no less than 15 days prior to the end date designated by the Resource Entity in its NSO if the Resource Entity intends to suspend operation later than that date. Notifications under this section shall be provided by the Resource Entity by completing a Notification of Change of Generation Resource Designation form (Section 22, Attachment H).

## Slide 5: Notice Requirements continued
(8) A Resource Entity with a Mothballed Generation Resource operating under a Seasonal Operation Period shall notify ERCOT in writing no less than 15 days prior to the date on which the Resource Entity intends to return the Mothballed Generation Resource to year-round operation by completing a Notification of Change of Generation Resource Designation form (Section 22, Attachment H).
(9) A Resource Entity with a Mothballed Generation Resource that operates under a Seasonal Operation Period must notify ERCOT in writing, by completing an NSO (Section 22, Attachment E), no less than 90 days before the date on which the Mothballed Generation Resource that operates under a Seasonal Operation Period is to be suspended indefinitely or retired and decommissioned.

## Slide 6: Issues around the Gap
Transparency to market participants
Transparency to ERCOT
Potential for market manipulation. While any market manipulation that might take place can be investigated by the IMM, that doesn’t undo the damage if the entity is found to have manipulated the market.

## Slide 7: Potential Solutions
Require time-certain notice for reversal of decision (15 or 30 days)
If generators want to reverse their decision after the notice period begins, they can be RUCed for up to 30 days from the decision. (e.g. if 15 days prior to decision, RUC would be required only 15 days after the date of proposed retirement.)