## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to ROS
February 7, 2019
Aster Amahatsion
2019 PGDTF Chair
<number>
Notes: <number>

## Slide 2: PGDTF Meeting
Business meeting was held on January 15th
Discussed Federal and State activities regarding GMD
Update to the PGDTF Scope
  New and improved scope under development
Discussed Vulnerability Assessment Event Descriptions
  ERCOT issued revised Market Notice on January 23rd
  Contact your ERCOT Account Manager or ERCOT Client Services with questions regarding this notice
<number>
2/07/2019 ROS Meeting
Notes: <number>

## Slide 3: PGDTF Meeting
PSSE versus PowerWorld Benchmark
  AEP conducted a comparison and noted differences
  ERCOT investigated the differences in line length and determined that the line length is not used in the GIC calculations
GIC System Model Procedure Manual update
  ERCOT developing a draft update with comments provided by the Task Force
  Expected ROS vote in March, 2019
2022 SSWG summer peak/min case building
  Pending updated 18SSWG 2022 cases in March, 2019
2/07/2019 ROS Meeting
<number>
Notes: <number>

## Slide 4: PGDTF Meeting
  Impacts of NERC TPL-007-2
  PGRR by ERCOT to address new requirements to update R1 – Roles and Responsibilities (due July 1, 2019)
  Task Force provided initial comments to the draft PGRR
Final GIC Flows posted by ERCOT
  ERCOT to present the results at the March ROS meeting
    Next PGDTF meeting:
    February 26 at the Met Center (WebEx available)
<number>
2/07/2019 ROS Meeting
Notes: <number>

## Slide 5: Questions
<number>
2/07/2019 ROS Meeting
Notes: <number>