| NPRR Number | 891 | NPRR Title | Removal of NOIE Capacity Reporting Threshold for the Unregistered Distributed Generation Report |
| --- | --- | --- | --- |
| Date |  | January 4, 2019 |  |
| Submitter’s Information |  |  |  |
| Name |  | Pete Warnken |  |
| E-mail Address |  | Pete.Warnken@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | (512) 248-6705 |  |
| Cell Number |  | (512) 585-2246 |  |
| Market Segment |  | Not Applicable |  |

Comments

ERCOT offers the following revisions in consideration of discussion at the December 12, 2018 Supply Analysis Working Group (SAWG) meeting.  These comments also remove the 100 MW threshold proposed in the 12/27/18 GSEC comments, as ERCOT does not agree that there should be any limitation on the annual requirement to provide aggregate Distributed Generation information.

| Revised Cover Page Language |  |
| --- | --- |
| Business Case | Currently, competitive area Transmission and/or Distribution Service Providers (TDSPs) report all unregistered DG in their service territory to ERCOT for the purpose of creating the quarterly Unregistered Distributed Generation Report. However, NOIEs only report unregistered DG that is over 50 kW in capacity. This restriction results in significant under-reporting of DG amounts. Based on ERCOT’s latest informal evaluation of non-ERCOT data sources, the unreported amount likely exceeds 200 MW. The Unregistered Distributed Generation Report is thus potentially capturing less than 50% of the total unregistered capacity amount based on the latest report released in April 2018. Among the implications of this underreporting is that ERCOT is forced to use unofficial and unreliable data in reporting distributed Photo Voltaic (PV) generation capacity to the North American Electric Reliability Corporation (NERC) as part of its annual Long-Term Reliability Assessment (LTRA) data request. To reduce this reporting gap and improve the accuracy of DG data reported to Market Participants, NERC, and other stakeholders, this NPRR would modify the reporting threshold so that each NOIE would be required to annually report to ERCOT all unregistered DG in their service territory. For quarterly reporting, each NOIE with aggregate unregistered capacity greater than ?? MW would also report all capacity; however, NOIEs with aggregate capacity less than or equal to ?? MW would continue to only report capacity for sites above 50 kW. Language is also added to clarify that all capacity used for self-serve load needs to be reported. |

Revised Proposed Protocol Language

- 3.2.5.1	Unregistered Distributed Generation Reporting Requirements for Non Opt-In Entities

(1)	This Section describes the data that shall be submitted to ERCOT for the unregistered Distributed Generation (DG) behind Non-Opt-In Entity (NOIE) boundary metering points.

(2)	Within ten Business Days after the end of each quarter, each NOIE shall submit to ERCOT electronically the required data described below as of the last day of the prior quarter by submitting the designated form provided on the ERCOT website.  For each NOIE with aggregate unregistered DG capacity greater than ?? MW, the report shall include all unregistered DG MW capacity inclusive of systems used to support self-serve Load. For each NOIE with aggregate unregistered DG MW capacity of ?? MW or less, the report shall include unregistered DG for sites above 50 kW, inclusive of systems used to support self-serve Load. NOIEs shall report their capacity by Load Zone and by primary fuel type as follows:

(a)	Solar;

(b)	Wind;

(c) 	Other renewable; and

(d) 	Other non-renewable.

(3)	By March 1 of each year, each NOIE shall submit to ERCOT the NOIE’s annual aggregate unregistered DG MW capacity inclusive of systems used to support self-serve Load for the preceding calendar year reported by Load Zone and by primary fuel type as follows:

(a)	Solar;

(b)	Wind;

(c) 	Other renewable; and

(d) 	Other non-renewable.

(4)	Each of the above reports is required to include only the capacity known to the NOIE at the time that its report is being prepared, and shall not require the NOIE to conduct new survey activities for its service territory to identify unknown unregistered DG installations.  Any NOIE may obtain a reporting exemption for the annual report required in 2020 by notifying ERCOT of the exemption claim in writing on or before March 1, 2020.