## Slide 1
Generation Interconnection Neutral
Project Options
PLWG
July 2018

## Slide 2: Options for Replacing Protocol 3.11.4.3(1)(f)(iv)
Option A
Facilities needed to connect a new Generation Resource to a substation on the existing ERCOT Transmission Grid;
Option B
Facilities needed to connect a new Generation Resource to a substation on the existing ERCOT Transmission Grid and any projects needed to ensure that the Generation Resource can reliably generate at capacity under P0, P1, and P7 conditions of the NERC Reliability Standard addressing Transmission System Planning Performance Requirements, other than a P1 or P7 contingency loss of a radial generator tie line, assuming other Generation Resources with a shift factor greater than 2% on an overloaded facility can be redispatched or have their commitment status changed in the study case;

## Slide 3: Scenario 1
~
~
~
~
200 MW
200 MW
200 MW
200 MW
500 MW Limit
500 MW Limit
 | Upgrade Project
Option A | Not a neutral project
Option B | Not a neutral project

## Slide 4: Scenario 2
~
~
200 MW
200 MW
300 MW Limit
 | Upgrade Project
Option A | Not a neutral project
Option B | Not a neutral project

## Slide 5: Scenario 3
~
200 MW
150 MW Limit
150 MW Limit
 | Upgrade Project
Option A | Not a neutral project
Option B | Neutral project

## Slide 6: Scenario 4
~
200 MW
150 MW Limit
 | Upgrade Project
Option A | Not a neutral project
Option B | Neutral project

## Slide 7: Questions?