APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, November 8, 2018 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | E.ON |  |
| Barnes, Bill | Reliant Energy Retails Services | Alt. Rep. for Robert Bailey |
| Bowen, Kenneth | CPS Energy | Alt. Rep. for Trieu Vo |
| Bunch, Kevin | EDF Energy Services |  |
| Coleman, Diana | OPUC |  |
| Downey, Marty | Electranet Power |  |
| Evans, Doug | South Texas Electric Cooperative | Alt. Rep. for John Moore |
| Greer, Clayton | Morgan Stanley |  |
| Hall, Tim | Southern Power Co. |  |
| Hampton, Brenda | Luminant |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |
| Kunkel, Dennis | AEPSC |  |
| Lee, Billy | Garland Power and Light |  |
| Lerma, Arnoldo | Austin Energy | Alt. Rep. for Danny Ee |
| Mercado, David | CenterPoint Energy | Alt. Rep. for Wes Woitt |
| Reed, Cyrus | Sierra Club |  |
| Staples, Boone | Tenaska Power Services |  |
| Woodruff, Taylor | Oncor |  |

The following proxies were assigned:

- Marka Shaw to Brenda Hampton

- David DeTullio to Cyrus Reed

| Guests: |  |  |
| --- | --- | --- |
| Ainspan, Malcolm | NRG | Via Teleconference |
| Albanese, Kaita | GE | Via Teleconference |
| Aldridge, Ryan | ABPower Advisors | Via Teleconference |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Checkley, Jim | CTT |  |
| Cook, Tim | CTT | Via Teleconference |
| Daigneault, Ralph | Potomac Economics | Via Teleconference |
| Donohoo, Ken | EPE Consulting | Via Teleconference |
| Feliks, Kent | AEPSC | Via Teleconference |
| Galliguez, Percy | Brazos |  |
| Gillean, Rick | Rayburn Electric | Via Teleconference |
| Gross, Blake | AEPSC |  |
| Henry, Mark | Texas Reliability Entity |  |
| Henderson, Norris | FERC | Via Teleconference |
| Holland, Chad | Oncor | Via Teleconference |
| Hughes, Darren | LCRA | Via Teleconference |
| Jablonski, Ward | CenterPoint Energy | Via Teleconference |
| Jonas, Todd | Tenaska |  |
| Jones, Randy | Mountaineer | Via Teleconference |
| Juricek, Mike | Oncor | Via Teleconference |
| Kremling, Barry | Guadalupe Valley Electric Coop |  |
| Lange, Clif | South Texas Electric Cooperative | Via Teleconference |
| Lewis, Matthew | AEPSC | Via Teleconference |
| Looper, Jerry | City of Denton | Via Teleconference |
| Matt, Kevin | NRG |  |
| McCamant, Frank | McCamant Consulting | Via Teleconference |
| Myers, Brad | AEPSC |  |
| Palani, Ananth | Garland Power and Light | Via Teleconference |
| Penney, David | Texas Reliability Entity | Via Teleconference |
| Peters, Patrick | CenterPoint Energy | Via Teleconference |
| Preas, Dylan | LCRA |  |
| Reid, Michael | Air Liquide |  |
| Reid, Walter | Wind Coalition |  |
| Rogas, Keith | PUCT | Via Teleconference |
| Santos, Juan | Garland Power and Light | Via Teleconference |
| Schwarz, Brad | Sharyland |  |
| Schwertner, Cody | CTT | Via Teleconference |
| Siddiqi, Shams | Crescent Power Inc. | Via Teleconference |
| Stanfield, Leonard | Invenergy |  |
| Tzartzev, Rouslan | EDP | Via Teleconference |
| Turner, David | Lone Star Transmission | Via Teleconference |
| Turner, Lucas | South Texas Electric Cooperative | Via Teleconference |
| Turner, Mina | AEPSC |  |
| Velasquez, Ivan | Oncor |  |
| White, Camden | LCRA | Via Teleconference |
| Whittington, Pam |  | Via Teleconference |
| Whittle, Brandon | Calpine | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Younger, Joseph | Texas Reliability Entity | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Aldridge, Josh |  | Via Teleconference |
| Anderson, Conner |  | Via Teleconference |
| Bernecker, John |  |  |
| Billo, Jeff |  |  |
| Blevins, Bill |  |  |
| Borkar, Sandeep |  | Via Teleconference |
| Bracy, Phil |  | Via Teleconference |
| Butterfield, Lindsay |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Fohn, Doug |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  | Via Teleconference |
| Hanson, Kevin |  | Via Teleconference |
| Hilliard, Marie |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| Kane, Erika |  | Via Teleconference |
| Lasher, Warren |  |  |
| Lavi, Yamit |  | Via Teleconference |
| Moorty, Sai |  |  |
| Opheim, Calvin |  | Via Teleconference |
| Sanchez, Daniel |  | Via Teleconference |
| Sham, Pam |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Thompson, Lori |  | Via Teleconference |
| Woodfin, Dan |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2018 ROS Chair Boone Staples called the November 8, 2018 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Staples reviewed the ERCOT Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Staples reviewed items scheduled for a vote and noted changes to the order for which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

October 11, 2018

Taylor Woodruff moved to approve the October 11, 2018 ROS Minutes as submitted.  Diana Coleman seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update

Mr. Staples reminded Market Participants that TAC had not met since the October 11, 2018 ROS meeting.

ERCOT Updates (see Key Documents)

Operations Report

Freddy Garcia reviewed the September 2018 Operations Report.

System Planning Report

Jeff Billo presented the September 2018 System Planning Report.

Proposed ICCP Handbook changes

Warren Lasher reminded Market Participants of ERCOT’s long term objective to change software systems to include unique characteristics of storage Resources, and reviewed proposed Inter-Control Center Communications Protocol (ICCP) Handbook changes to include five new telemetry points for battery energy storage devices as reviewed at the Network Data Support Working Group (NDSWG) and the QSE (Qualified Scheduling Entity) Managers Working Group (QMWG) meetings.

Annual updates on unannounced testing

Sandip Sharma summarized the Nodal Protocol requirements for conducting Generation Resource tests to verify High Sustained Limit (HSL) reported by telemetry and ERCOT’s annual report of the aggregated results.  Mr. Sharma stated that ERCOT developed an enhanced selection process that uses historical information to more effectively prepare the list of Generation Resources that may be tested.  In response to Market Participant questions on the high percentage of failures, Mr. Sharma stated the results of the analysis are more accurate in consideration of the capacity and duration of the failure.

New Protocol Revision Subcommittee (PRS) Referrals

Nodal Protocol Revision Request (NPRR) 901, Switchable Generation Resource Status Code

Market Participants and ERCOT Staff discussed the merits of NPRR901.  Some Market Participants requested further time to review, pending the outcome of compensation discussions by the Wholesale Market Subcommittee (WMS).

Mr. Woodruff moved to request PRS continue to table NPRR901.  Clayton Greer seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

NPRR891, Removal of NOIE Capacity Reporting Threshold for the Unregistered Distributed Generation Report

NPRR896, Reliability Must-Run and Must-Run Alternative Evaluation Process

Ms. Coleman announced the Must-Run Alternative (MRA) Workshop on November 16, 2018.

ROS took no action on these items.

Review of Revision Request Language & Impact Analyses

Language Review

Nodal Operating Guide Revision Request (NOGRR) 183, Remedial Action Scheme (RAS) Submittal and Review Requirements

Mr. Woodruff moved to table NOGRR183 and refer the issue to the Operations Working Group (OWG) and the Planning Working Group (PLWG).  Brenda Hampton seconded the motion.  The motion carried unanimously.

Impact Analysis Review

NOGRR182, Transmission Operator (TO) Emergency Operations Plan Submittals

Mr. Woodruff moved to endorse and forward to TAC the 10/11/18 ROS Report and Impact Analysis for NOGRR182.  Marty Downey seconded the motion.  The motion carried unanimously.

Planning Guide Revision Request (PGRR) 066, Interconnection Request Cancellation and Creation of Inactive Status

Market Participants discussed the Impact Analysis and appropriate priority and rank for PGRR066.

Mr. Greer moved to endorse and forward to TAC the 10/11/18 ROS Report and Impact Analysis for PGRR066 with a recommended priority of 2019 and a rank of 2580.  Mr. Woodruff seconded the motion.  The motion carried unanimously.

PGRR067, Procedures for Wind and Solar Equipment Change

Ms. Hampton moved to endorse and forward to TAC the 10/11/18 ROS Report and Impact Analysis for PGRR067.  Billy Lee seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

Resource Registration Glossary Revision Request (RRGRR) 019, Related to NPRR901, Switchable Generation Resource Status Code

ROS took no action on this item.

OWG (see Key Documents)

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

Rick Gillean summarized recent OWG activities, including review of Revision Requests assigned to OWG.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Approve Scope

Percy Galliguez reviewed recent PDCWG activities, including proposed revisions to the PDCWG Scope.

Mr. Woodruff moved to approve the PDCWG Scope as submitted.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

Operations Training Working Group (OTWG)

Human Performance Improvement Task Force (HPITF)

HPITF Scope

Josh Aldridge reviewed recent OTWG activities and presented a draft HPITF Scope for ROS consideration.  Market Participants requested additional time to review the utility of the HPITF and its scope.

Steady State Working Group (SSWG) (see Key Documents)

Updates to the SSWG Procedural Manual

Ward Jablonski reviewed recent SSWG activities, including updates to the SSWG Procedural Manual.

Mr. Greer moved to approve the SSWG Procedural Manual as submitted.  Mr. Woodruff seconded the motion.  The motion carried unanimously.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Dylan Preas reviewed recent PGDTF activities.

NDSWG

Tony Krosky reviewed recent NDSWG activities.

Other Business (see Key Documents)

2019 Membership/Segment Elections

ERCOT Staff reminded Market Participants that the membership date of record is Friday, November 9, 2018 and stated that 2019 Segment Representative Elections would begin on Monday, November 12, 2018.

Review of Open Action Items

Market Participants reviewed the Open Action Items list.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group (DWG)

- Outage Coordination Working Group (OCWG)

- PLWG

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Staples adjourned the November 8, 2018 ROS meeting at 11:06 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2018/10/11/139284-ROS