## Slide 1: TDSP Tariff References

## Slide 2
TDSP Tariff 3.13, Quality of Delivery Service
“Company will use reasonable diligence to provide continuous and adequate Delivery of Electric Power and Energy in conformance with Applicable Legal Authorities, but Company does not guarantee against irregularities or interruptions.”

## Slide 3
TDSP Tariff 4.2.5, Emergency & Necessary Interruptions
“Company may curtail, reduce voltage, or interrupt Delivery Service in the event of an emergency arising anywhere on the Company’s Delivery System or the interconnected systems of which it is a part, when the emergency poses a threat to the integrity of its Delivery System or the systems to which it is directly or indirectly connected if, in its sole judgment, such action may prevent or alleviate the emergency condition.
Company may interrupt service when necessary, in the Company’s sole judgment, for inspection, test, repair, or changes in the Delivery System, or when such interruption will lessen or remove possible danger to life or property, or will aid in the restoration of Delivery Service.

## Slide 4
Company shall provide advance notice to Competitive Retailer of such actions, if reasonably possible. Such notice may be provided by electronic notice to all certificated Competitive Retailers operating within the Company’s service territory with specific identification of location, time, and expected duration of the outage. If reasonably possible, Company shall provide notice to Competitive Retailer no later than one hour after the initiation of the curtailment, interruption, or voltage reduction that occurs due to the emergency if the emergency occurs during the Company’s normal hours of operation as defined in Section 3.18. If the emergency occurs outside Company’s normal hours of operation, Company shall provide notice as soon as reasonably possible under the circumstances to Competitive Retailer after the initiation of the curtailment, interruption, or voltage reduction that occurs due to the emergency.
Note: Email Communications are considered the equivalent as “provided by electronic notice”

## Slide 5
Advanced notice shall also be provided, if reasonably possible, to those Retail Customers designated as Critical Care Residential Customers, Chronic Condition Residential Customers, Critical Load Industrial Customers, and Critical Load Public Safety Customers.
Nothing herein shall prevent the Company from being liable if found to be grossly negligent or to have committed intentional misconduct with respect to its exercise of its authority in this Tariff.
The operation of broadband over power line (BPL) shall not interfere with or diminish the reliability of Company’s Delivery System. Should a disruption in the provision of Delivery Service occur due to BPL, Company shall prioritize restoration of Delivery Service prior to restoration of BPL-related systems.”